## Results summary
CollectionTemp | Label | Notes | arSat.conc_uMol.kg | n2Sat.conc_uMol.kg | o2Sat.conc_uMol.kg | Ar_uMolL | N2Ar | O2Ar | N2_uMolL | O2_uMolL | N2_mgL | O2_mgL | Ar_mgL
20 | Openwater_IN_T1_1 |  | 13.9484 | 537.4432 | 288.3061 | 19.8967 | 38.7692 | 18.8286 | 540.7688 | 262.6295 | 15.1415 | 8.4041 | 0.79587
20 | Openwater_IN_T1_2 |  | 13.9484 | 537.4432 | 288.3061 | 19.8972 | 38.7697 | 18.8274 | 540.7755 | 262.6124 | 15.1417 | 8.4036 | 0.79589
20 | Openwater_IN_T1_3 |  | 13.9484 | 537.4432 | 288.3061 | 19.8987 | 38.7677 | 18.8212 | 540.7473 | 262.5255 | 15.1409 | 8.4008 | 0.79595
20 | Openwater_1_T1_1 |  | 13.9484 | 537.4432 | 288.3061 | 20.0297 | 38.7828 | 17.2788 | 540.9587 | 241.0114 | 15.1468 | 7.7124 | 0.80119
20 | Openwater_1_T1_2 |  | 13.9484 | 537.4432 | 288.3061 | 20.0312 | 38.7909 | 17.2759 | 541.0716 | 240.9716 | 15.15 | 7.7111 | 0.80125
20 | Openwater_1_T1_3 |  | 13.9484 | 537.4432 | 288.3061 | 20.0345 | 38.7827 | 17.2532 | 540.9573 | 240.6543 | 15.1468 | 7.7009 | 0.80138
20 | Openwater_2_T1_1 |  | 13.9484 | 537.4432 | 288.3061 | 20.1335 | 38.8542 | 17.2892 | 541.9539 | 241.1567 | 15.1747 | 7.717 | 0.80534
20 | Openwater_2_T1_2 |  | 13.9484 | 537.4432 | 288.3061 | 20.1373 | 38.8568 | 17.2964 | 541.9905 | 241.2567 | 15.1757 | 7.7202 | 0.80549
20 | Openwater_2_T1_3 |  | 13.9484 | 537.4432 | 288.3061 | 20.1416 | 38.8424 | 17.294 | 541.7894 | 241.2241 | 15.1701 | 7.7192 | 0.80567
20 | Openwater_3_T1_1 |  | 13.9484 | 537.4432 | 288.3061 | 19.9422 | 38.62 | 17.4917 | 538.6875 | 243.9819 | 15.0833 | 7.8074 | 0.79769
20 | Openwater_3_T1_2 |  | 13.9484 | 537.4432 | 288.3061 | 19.9431 | 38.6137 | 17.4878 | 538.5997 | 243.9265 | 15.0808 | 7.8056 | 0.79772
20 | Openwater_3_T1_3 |  | 13.9484 | 537.4432 | 288.3061 | 19.9434 | 38.6092 | 17.4856 | 538.5365 | 243.8959 | 15.079 | 7.8047 | 0.79774
20 | Openwater_4_T1_1 |  | 13.9484 | 537.4432 | 288.3061 | 20.2213 | 38.5747 | 15.1789 | 538.0554 | 211.7213 | 15.0656 | 6.7751 | 0.80885
20 | Openwater_4_T1_2 |  | 13.9484 | 537.4432 | 288.3061 | 20.2246 | 38.5647 | 15.1725 | 537.9162 | 211.6329 | 15.0617 | 6.7723 | 0.80899
20 | Openwater_4_T1_3 |  | 13.9484 | 537.4432 | 288.3061 | 20.2256 | 38.5774 | 15.1722 | 538.0933 | 211.6276 | 15.0666 | 6.7721 | 0.80902
20 | SAVa_IN_T1_1 |  | 13.9484 | 537.4432 | 288.3061 | 20.996 | 40.1526 | 14.7999 | 560.0657 | 206.4344 | 15.6818 | 6.6059 | 0.83984
20 | SAVa_IN_T1_2 |  | 13.9484 | 537.4432 | 288.3061 | 21.0288 | 40.144 | 14.8026 | 559.9452 | 206.4733 | 15.6785 | 6.6071 | 0.84115
20 | SAVa_IN_T1_3 |  | 13.9484 | 537.4432 | 288.3061 | 21.0005 | 40.1359 | 14.7969 | 559.8327 | 206.3936 | 15.6753 | 6.6046 | 0.84002
20 | SAV_5_T1_1 |  | 13.9484 | 537.4432 | 288.3061 | 20.0043 | 38.3521 | 15.7069 | 534.9511 | 219.0863 | 14.9786 | 7.0108 | 0.80017
20 | SAV_5_T1_2 |  | 13.9484 | 537.4432 | 288.3061 | 20.0078 | 38.3507 | 15.6872 | 534.931 | 218.8114 | 14.9781 | 7.002 | 0.80031
20 | SAV_5_T1_3 |  | 13.9484 | 537.4432 | 288.3061 | 20.0096 | 38.3592 | 15.6788 | 535.0506 | 218.6945 | 14.9814 | 6.9982 | 0.80038
20 | SAV_6_T1_1 |  | 13.9484 | 537.4432 | 288.3061 | 20.0252 | 38.6095 | 17.6187 | 538.5412 | 245.7535 | 15.0792 | 7.8641 | 0.80101
20 | SAV_6_T1_2 |  | 13.9484 | 537.4432 | 288.3061 | 20.058 | 38.6069 | 17.6253 | 538.5046 | 245.8452 | 15.0781 | 7.867 | 0.80232
20 | SAV_6_T1_3 |  | 13.9484 | 537.4432 | 288.3061 | 20.0582 | 38.6017 | 17.6248 | 538.4331 | 245.8374 | 15.0761 | 7.8668 | 0.80233
20 | SAV_7_T1_1 |  | 13.9484 | 537.4432 | 288.3061 | 20.0827 | 38.4408 | 14.4904 | 536.1878 | 202.1187 | 15.0133 | 6.4678 | 0.80331
20 | SAV_7_T1_2 |  | 13.9484 | 537.4432 | 288.3061 | 20.0849 | 38.4357 | 14.4793 | 536.1166 | 201.9639 | 15.0113 | 6.4628 | 0.8034
20 | SAV_7_T1_3 |  | 13.9484 | 537.4432 | 288.3061 | 20.0868 | 38.444 | 14.4714 | 536.2329 | 201.8529 | 15.0145 | 6.4593 | 0.80347
20 | SAV_8_T1_1 |  | 13.9484 | 537.4432 | 288.3061 | 19.9716 | 38.4805 | 15.2234 | 536.7415 | 212.3417 | 15.0288 | 6.7949 | 0.79886
20 | SAV_8_T1_2 |  | 13.9484 | 537.4432 | 288.3061 | 19.9728 | 38.489 | 15.2182 | 536.8605 | 212.2696 | 15.0321 | 6.7926 | 0.79891
20 | SAV_8_T1_3 |  | 13.9484 | 537.4432 | 288.3061 | 19.9742 | 38.4858 | 15.2037 | 536.8154 | 212.0672 | 15.0308 | 6.7862 | 0.79897
20 | SAVb_IN_T1_1 |  | 13.9484 | 537.4432 | 288.3061 | 20.1976 | 38.6023 | 16.3978 | 538.4407 | 228.7239 | 15.0763 | 7.3192 | 0.8079
20 | SAVb_IN_T1_2 |  | 13.9484 | 537.4432 | 288.3061 | 20.1993 | 38.6016 | 16.4018 | 538.4309 | 228.7786 | 15.0761 | 7.3209 | 0.80797
20 | SAVb_IN_T1_3 |  | 13.9484 | 537.4432 | 288.3061 | 20.1694 | 38.6124 | 16.4081 | 538.5824 | 228.8673 | 15.0803 | 7.3238 | 0.80678
20 | SAV_9_T1_1 |  | 13.9484 | 537.4432 | 288.3061 | 20.0107 | 38.6724 | 15.8089 | 539.4193 | 220.5085 | 15.1037 | 7.0563 | 0.80043
20 | SAV_9_T1_2 |  | 13.9484 | 537.4432 | 288.3061 | 20.013 | 38.6718 | 15.8044 | 539.4097 | 220.4458 | 15.1035 | 7.0543 | 0.80052
20 | SAV_9_T1_3 |  | 13.9484 | 537.4432 | 288.3061 | 20.0147 | 38.6753 | 15.8042 | 539.4596 | 220.444 | 15.1049 | 7.0542 | 0.80059
20 | SAV_10_T1_1 |  | 13.9484 | 537.4432 | 288.3061 | 20.0773 | 38.7611 | 16.4356 | 540.6552 | 229.25 | 15.1383 | 7.336 | 0.80309
20 | SAV_10_T1_2 |  | 13.9484 | 537.4432 | 288.3061 | 20.0791 | 38.7544 | 16.4194 | 540.5617 | 229.0247 | 15.1357 | 7.3288 | 0.80316
20 | SAV_10_T1_3 |  | 13.9484 | 537.4432 | 288.3061 | 20.0802 | 38.7558 | 16.4137 | 540.5819 | 228.9445 | 15.1363 | 7.3262 | 0.80321
20 | SAV_11_T1_1 |  | 13.9484 | 537.4432 | 288.3061 | 20.0736 | 38.7961 | 16.0125 | 541.1446 | 223.3483 | 15.152 | 7.1471 | 0.80294
20 | SAV_11_T1_2 |  | 13.9484 | 537.4432 | 288.3061 | 20.0752 | 38.7971 | 16.0071 | 541.1576 | 223.273 | 15.1524 | 7.1447 | 0.80301
20 | SAV_11_T1_3 |  | 13.9484 | 537.4432 | 288.3061 | 20.0761 | 38.8009 | 16.0038 | 541.211 | 223.2273 | 15.1539 | 7.1433 | 0.80304
20 | SAV_12_T1_1 |  | 13.9484 | 537.4432 | 288.3061 | 20.2333 | 38.7472 | 14.89 | 540.4625 | 207.6913 | 15.1329 | 6.6461 | 0.80933
20 | SAV_12_T1_2 |  | 13.9484 | 537.4432 | 288.3061 | 20.2344 | 38.7599 | 14.8893 | 540.6397 | 207.682 | 15.1379 | 6.6458 | 0.80938
20 | SAV_12_T1_3 |  | 13.9484 | 537.4432 | 288.3061 | 20.236 | 38.7534 | 14.8792 | 540.5488 | 207.5411 | 15.1354 | 6.6413 | 0.80944
20 | Hardwoods_IN_T1_1 |  | 13.9484 | 537.4432 | 288.3061 | 20.3 | 38.7293 | 15.4694 | 540.2121 | 215.7733 | 15.1259 | 6.9047 | 0.812
20 | Hardwoods_IN_T1_2 |  | 13.9484 | 537.4432 | 288.3061 | 20.3014 | 38.7227 | 15.4644 | 540.1207 | 215.7042 | 15.1234 | 6.9025 | 0.81206
20 | Hardwoods_IN_T1_3 |  | 13.9484 | 537.4432 | 288.3061 | 20.3022 | 38.7138 | 15.4593 | 539.9963 | 215.6327 | 15.1199 | 6.9002 | 0.81209
20 | Hardwoods_13_T1_1 |  | 13.9484 | 537.4432 | 288.3061 | 20.1172 | 38.6995 | 12.8831 | 539.7972 | 179.6993 | 15.1143 | 5.7504 | 0.80469
20 | Hardwoods_13_T1_2 |  | 13.9484 | 537.4432 | 288.3061 | 20.1185 | 38.6988 | 12.877 | 539.7862 | 179.6133 | 15.114 | 5.7476 | 0.80474
20 | Hardwoods_13_T1_3 |  | 13.9484 | 537.4432 | 288.3061 | 20.1202 | 38.7024 | 12.8741 | 539.8375 | 179.5733 | 15.1154 | 5.7463 | 0.80481
20 | Hardwoods_14_T1_1 |  | 13.9484 | 537.4432 | 288.3061 | 20.0962 | 38.7 | 15.1221 | 539.8029 | 210.9289 | 15.1145 | 6.7497 | 0.80385
20 | Hardwoods_14_T1_2 |  | 13.9484 | 537.4432 | 288.3061 | 20.0987 | 38.687 | 15.1203 | 539.6219 | 210.9042 | 15.1094 | 6.7489 | 0.80395
20 | Hardwoods_14_T1_3 |  | 13.9484 | 537.4432 | 288.3061 | 20.0996 | 38.6853 | 15.1207 | 539.5983 | 210.9095 | 15.1088 | 6.7491 | 0.80398

## Full results
Type | Group | CollectionTemp | Label | Index | Time | X28 | X32 | X40 | N2.Ar | O2.Ar | Notes | arSat.conc_uMol.kg | n2Sat.conc_uMol.kg | o2Sat.conc_uMol.kg | INTERPOLATED.calslope_28 | INTERPOLATED.calintercept_28 | INTERPOLATED.calslope_32 | INTERPOLATED.calintercept_32 | INTERPOLATED.calslope_40 | INTERPOLATED.calintercept_40 | INTERPOLATED.calslope_N2Ar | INTERPOLATED.calintercept_N2Ar | INTERPOLATED.calslope_O2Ar | INTERPOLATED.calintercept_O2Ar | INTERPOLATED.calfactor_28 | INTERPOLATED.calfactor_32 | INTERPOLATED.calfactor_40 | INTERPOLATED.calfactor_N2Ar | INTERPOLATED.calfactor_O2Ar | Ar_uMolL | N2Ar | O2Ar | N2_uMolL | O2_uMolL | N2_mgL | O2_mgL | Ar_mgL
Standard | 1 | 20 | Calibrate | 4207 | 2024-04-16 11:06 | 1.8e-10 | 8.62e-11 | 6.76e-12 | 26.6111 | 12.7513 | T1 20230801 | 13.9484 | 537.4432 | 288.3061 | -5053149217.1761 | 3.0869e+12 | 15163832586.8587 | 3.0413e+12 | -2257730714.3678 | 2.1085e+12 | -0.00084326 | 1.4648 | 0.0092051 | 1.437 | 2.9858e+12 | 3.3446e+12 | 2.0634e+12 | 1.4479 | 1.6211 | 20.184 | 38.5309 | 20.6713 | 537.4451 | 288.3314 | 15.0485 | 9.2266 | 0.80736
Standard | 1 | 20 | Calibrate | 4212 | 2024-04-16 11:06 | 1.8e-10 | 8.62e-11 | 6.76e-12 | 26.6091 | 12.7494 |  | 13.9484 | 537.4432 | 288.3061 | -5072328335.7805 | 3.0875e+12 | 15134244415.0102 | 3.0425e+12 | -2268113181.7366 | 2.1089e+12 | -0.00084114 | 1.4647 | 0.0091983 | 1.4372 | 2.9861e+12 | 3.3451e+12 | 2.0636e+12 | 1.4479 | 1.6212 | 20.1861 | 38.5274 | 20.6692 | 537.3957 | 288.303 | 15.0471 | 9.2257 | 0.80744
Standard | 1 | 20 | Calibrate | 4218 | 2024-04-16 11:06 | 1.8e-10 | 8.62e-11 | 6.76e-12 | 26.6128 | 12.7499 |  | 13.9484 | 537.4432 | 288.3061 | -5093904844.2103 | 3.0883e+12 | 15100957721.6807 | 3.0437e+12 | -2279793457.5265 | 2.1094e+12 | -0.00083875 | 1.4646 | 0.0091907 | 1.4375 | 2.9864e+12 | 3.3457e+12 | 2.0638e+12 | 1.4479 | 1.6213 | 20.1884 | 38.5319 | 20.6714 | 537.459 | 288.3331 | 15.0489 | 9.2267 | 0.80754
Standard | 1 | 30 | Calibrate | 4442 | 2024-04-16 11:12 | 1.56e-10 | 7.3e-11 | 5.71e-12 | 27.3073 | 12.7904 |  | 11.6462 | 457.9012 | 255.2268 | -5923401723.8471 | 3.1182e+12 | 13821269289.2342 | 3.0923e+12 | -2728835171.2263 | 2.1276e+12 | -0.00074696 | 1.4617 | 0.0088984 | 1.4471 | 2.9405e+12 | 3.5069e+12 | 2.0458e+12 | 1.4393 | 1.7141 | 16.7901 | 39.3031 | 21.924 | 457.7294 | 255.3304 | 12.8164 | 8.1706 | 0.6716
Standard | 1 | 30 | Calibrate | 4448 | 2024-04-16 11:12 | 1.56e-10 | 7.3e-11 | 5.71e-12 | 27.3126 | 12.7922 |  | 11.6462 | 457.9012 | 255.2268 | -5944978232.277 | 3.1189e+12 | 13787982595.9047 | 3.0935e+12 | -2740515447.0162 | 2.1281e+12 | -0.00074457 | 1.4616 | 0.0088908 | 1.4474 | 2.9406e+12 | 3.5072e+12 | 2.0459e+12 | 1.4393 | 1.7141 | 16.7908 | 39.3105 | 21.9273 | 457.8165 | 255.3686 | 12.8189 | 8.1718 | 0.67163
Standard | 1 | 30 | Calibrate | 4455 | 2024-04-16 11:12 | 1.56e-10 | 7.3e-11 | 5.7e-12 | 27.3209 | 12.7941 |  | 11.6462 | 457.9012 | 255.2268 | -5971349520.3579 | 3.1199e+12 | 13747298859.613 | 3.0951e+12 | -2754791339.6483 | 2.1287e+12 | -0.00074165 | 1.4615 | 0.0088815 | 1.4477 | 2.9408e+12 | 3.5075e+12 | 2.046e+12 | 1.4393 | 1.7141 | 16.7623 | 39.3223 | 21.9309 | 457.9531 | 255.4109 | 12.8227 | 8.1731 | 0.67049
Sample | 1 | 20 | Openwater_IN_T1_1 | 4618 | 2024-04-16 11:16 | 1.77e-10 | 7.65e-11 | 6.61e-12 | 26.8135 | 11.5648 |  | 13.9484 | 537.4432 | 288.3061 | -6573094366.5684 | 3.1415e+12 | 12818969967.8672 | 3130280789886 | -3080541253.3439 | 2.1419e+12 | -0.00067506 | 1.4594 | 0.0086695 | 1.4547 | 3.0101e+12 | 3.3867e+12 | 2.0803e+12 | 1.4459 | 1.6281 | 19.8967 | 38.7692 | 18.8286 | 540.7688 | 262.6295 | 15.1415 | 8.4041 | 0.79587
Sample | 1 | 20 | Openwater_IN_T1_2 | 4619 | 2024-04-16 11:16 | 1.77e-10 | 7.65e-11 | 6.61e-12 | 26.814 | 11.5639 |  | 13.9484 | 537.4432 | 288.3061 | -6577889146.2195 | 3.1417e+12 | 12811572924.9051 | 3.1306e+12 | -3083136870.1861 | 2.142e+12 | -0.00067453 | 1.4594 | 0.0086678 | 1.4548 | 3.0102e+12 | 3.3868e+12 | 2.0803e+12 | 1.4459 | 1.6281 | 19.8972 | 38.7697 | 18.8274 | 540.7755 | 262.6124 | 15.1417 | 8.4036 | 0.79589
Sample | 1 | 20 | Openwater_IN_T1_3 | 4623 | 2024-04-16 11:16 | 1.77e-10 | 7.65e-11 | 6.61e-12 | 26.813 | 11.5596 |  | 13.9484 | 537.4432 | 288.3061 | -6592273485.1728 | 3.1422e+12 | 12789381796.0187 | 3.1314e+12 | -3090923720.7126 | 2.1423e+12 | -0.00067294 | 1.4593 | 0.0086627 | 1.4549 | 3.0104e+12 | 3.3872e+12 | 2.0805e+12 | 1.4459 | 1.6282 | 19.8987 | 38.7677 | 18.8212 | 540.7473 | 262.5255 | 15.1409 | 8.4008 | 0.79595
Sample | 1 | 20 | Openwater_1_T1_1 | 4727 | 2024-04-16 11:19 | 1.78e-10 | 7.04e-11 | 6.64e-12 | 26.833 | 10.6008 |  | 13.9484 | 537.4432 | 288.3061 | -6975855857.2591 | 3.156e+12 | 12197618359.0493 | 3.1538e+12 | -3298573068.0883 | 2.1507e+12 | -0.00063049 | 1.4579 | 0.0085275 | 1.4594 | 3.0165e+12 | 3.3978e+12 | 2.0847e+12 | 1.4453 | 1.6299 | 20.0297 | 38.7828 | 17.2788 | 540.9587 | 241.0114 | 15.1468 | 7.7124 | 0.80119
Sample | 1 | 20 | Openwater_1_T1_2 | 4731 | 2024-04-16 11:19 | 1.78e-10 | 7.04e-11 | 6.64e-12 | 26.839 | 10.5986 |  | 13.9484 | 537.4432 | 288.3061 | -6990240196.2124 | 3.1566e+12 | 12175427230.1629 | 3.1547e+12 | -3306359918.6149 | 2.151e+12 | -0.0006289 | 1.4579 | 0.0085225 | 1.4596 | 3.0167e+12 | 3.3982e+12 | 2.0849e+12 | 1.4453 | 1.63 | 20.0312 | 38.7909 | 17.2759 | 541.0716 | 240.9716 | 15.15 | 7.7111 | 0.80125
Sample | 1 | 20 | Openwater_1_T1_3 | 4739 | 2024-04-16 11:19 | 1.78e-10 | 7.03e-11 | 6.64e-12 | 26.8341 | 10.5837 |  | 13.9484 | 537.4432 | 288.3061 | -7021406263.9444 | 3.1577e+12 | 12127346450.9092 | 3.1565e+12 | -3323231428.0892 | 2.1517e+12 | -0.00062545 | 1.4578 | 0.0085115 | 1.4599 | 3.0172e+12 | 3.3991e+12 | 2.0852e+12 | 1.4453 | 1.6302 | 20.0345 | 38.7827 | 17.2532 | 540.9573 | 240.6543 | 15.1468 | 7.7009 | 0.80138
Sample | 1 | 20 | Openwater_2_T1_1 | 4914 | 2024-04-16 11:24 | 1.79e-10 | 7.04e-11 | 6.65e-12 | 26.8998 | 10.5865 |  | 13.9484 | 537.4432 | 288.3061 | -7668701516.8402 | 3.181e+12 | 11128745651.0232 | 3.1944e+12 | -3673639701.7856 | 2.1659e+12 | -0.00055382 | 1.4555 | 0.0082834 | 1.4675 | 3.0276e+12 | 3.417e+12 | 2.0924e+12 | 1.4444 | 1.6331 | 20.1335 | 38.8542 | 17.2892 | 541.9539 | 241.1567 | 15.1747 | 7.717 | 0.80534
Sample | 1 | 20 | Openwater_2_T1_2 | 4924 | 2024-04-16 11:24 | 1.79e-10 | 7.04e-11 | 6.65e-12 | 26.9025 | 10.5898 |  | 13.9484 | 537.4432 | 288.3061 | -7704662364.2233 | 3.1823e+12 | 11073267828.8073 | 3.1965e+12 | -3693106828.102 | 2.1667e+12 | -0.00054984 | 1.4554 | 0.0082707 | 1.4679 | 3.0282e+12 | 3.418e+12 | 2.0928e+12 | 1.4444 | 1.6333 | 20.1373 | 38.8568 | 17.2964 | 541.9905 | 241.2567 | 15.1757 | 7.7202 | 0.80549
Sample | 1 | 20 | Openwater_2_T1_3 | 4935 | 2024-04-16 11:24 | 1.79e-10 | 7.04e-11 | 6.65e-12 | 26.8935 | 10.5872 |  | 13.9484 | 537.4432 | 288.3061 | -7745417991.2575 | 3.1837e+12 | 11010392963.6293 | 3.1989e+12 | -3715169571.2607 | 2.1676e+12 | -0.00054533 | 1.4552 | 0.0082563 | 1.4684 | 3.0288e+12 | 3.4191e+12 | 2.0933e+12 | 1.4443 | 1.6335 | 20.1416 | 38.8424 | 17.294 | 541.7894 | 241.2241 | 15.1701 | 7.7192 | 0.80567
Standard | 2 | 20 | Calibrate | 5063 | 2024-04-16 11:28 | 1.77e-10 | 8.4e-11 | 6.65e-12 | 26.6894 | 12.6291 |  | 13.9484 | 537.4432 | 288.3061 | -8220101176.7143 | 3.2008e+12 | 10278085710.3796 | 3.2267e+12 | -3972135638.6381 | 2.178e+12 | -0.0004928 | 1.4535 | 0.0080891 | 1.4739 | 3.0364e+12 | 3.4322e+12 | 2.0986e+12 | 1.4437 | 1.6357 | 20.1921 | 38.5305 | 20.6571 | 537.4395 | 288.1339 | 15.0483 | 9.2203 | 0.80768
Standard | 2 | 20 | Calibrate | 5068 | 2024-04-16 11:28 | 1.77e-10 | 8.4e-11 | 6.65e-12 | 26.694 | 12.6388 |  | 13.9484 | 537.4432 | 288.3061 | -8212245595.6203 | 3.2008e+12 | 10274497343.714 | 3.2271e+12 | -3971875849.5591 | 2.1781e+12 | -0.00049287 | 1.4535 | 0.0080873 | 1.474 | 3.0366e+12 | 3.4325e+12 | 2.0987e+12 | 1.4437 | 1.6357 | 20.1931 | 38.5371 | 20.6737 | 537.5308 | 288.3648 | 15.0509 | 9.2277 | 0.80773
Standard | 2 | 20 | Calibrate | 5074 | 2024-04-16 11:28 | 1.77e-10 | 8.4e-11 | 6.64e-12 | 26.6854 | 12.642 |  | 13.9484 | 537.4432 | 288.3061 | -8201023336.9146 | 3.2008e+12 | 10269371105.6202 | 3.2276e+12 | -3971504722.3033 | 2.1783e+12 | -0.00049297 | 1.4535 | 0.0080848 | 1.4741 | 3.0368e+12 | 3.433e+12 | 2.0989e+12 | 1.4437 | 1.6358 | 20.1643 | 38.5246 | 20.6798 | 537.3577 | 288.4502 | 15.046 | 9.2304 | 0.80657
Standard | 2 | 30 | Calibrate | 5260 | 2024-04-16 11:33 | 1.55e-10 | 7.22e-11 | 5.65e-12 | 27.3311 | 12.7685 |  | 11.6462 | 457.9012 | 255.2268 | -7880066737.93 | 3.2009e+12 | 10122760696.1391 | 3.2439e+12 | -3960890482.7885 | 2.1833e+12 | -0.00049573 | 1.4535 | 0.0080141 | 1.4776 | 2.9645e+12 | 3.5476e+12 | 2.0645e+12 | 1.4386 | 1.718 | 16.7496 | 39.3198 | 21.9363 | 457.9238 | 255.4731 | 12.8219 | 8.1751 | 0.66999
Standard | 2 | 30 | Calibrate | 5264 | 2024-04-16 11:33 | 1.55e-10 | 7.22e-11 | 5.66e-12 | 27.326 | 12.7662 |  | 11.6462 | 457.9012 | 255.2268 | -7872211156.836 | 3.2009e+12 | 10119172329.4734 | 3.2443e+12 | -3960630693.7094 | 2.1834e+12 | -0.00049579 | 1.4535 | 0.0080124 | 1.4777 | 2.9648e+12 | 3.5479e+12 | 2.0646e+12 | 1.4386 | 1.718 | 16.7806 | 39.3123 | 21.9327 | 457.837 | 255.4313 | 12.8194 | 8.1738 | 0.67123
Standard | 2 | 30 | Calibrate | 5269 | 2024-04-16 11:33 | 1.55e-10 | 7.22e-11 | 5.66e-12 | 27.3271 | 12.7658 |  | 11.6462 | 457.9012 | 255.2268 | -7864355575.7419 | 3.2009e+12 | 10115583962.8078 | 3.2447e+12 | -3960370904.6304 | 2.1836e+12 | -0.00049586 | 1.4535 | 0.0080107 | 1.4777 | 2.965e+12 | 3.5482e+12 | 2.0648e+12 | 1.4386 | 1.7181 | 16.782 | 39.3138 | 21.9324 | 457.8548 | 255.4285 | 12.8199 | 8.1737 | 0.67128
Sample | 2 | 20 | Openwater_3_T1_1 | 5560 | 2024-04-16 11:41 | 1.75e-10 | 6.96e-11 | 6.53e-12 | 26.7542 | 10.658 |  | 13.9484 | 537.4432 | 288.3061 | -7360476159.8536 | 3.2011e+12 | 9885415872.3985 | 3.2703e+12 | -3943707290.8466 | 2.1914e+12 | -0.00050019 | 1.4535 | 0.0078996 | 1.4832 | 3.0539e+12 | 3.468e+12 | 2.1126e+12 | 1.4435 | 1.6412 | 19.9422 | 38.62 | 17.4917 | 538.6875 | 243.9819 | 15.0833 | 7.8074 | 0.79769
Sample | 2 | 20 | Openwater_3_T1_2 | 5564 | 2024-04-16 11:41 | 1.75e-10 | 6.96e-11 | 6.53e-12 | 26.7499 | 10.6553 |  | 13.9484 | 537.4432 | 288.3061 | -7353742804.6301 | 3.2011e+12 | 9882340129.5423 | 3.2707e+12 | -3943484614.4932 | 2.1915e+12 | -0.00050025 | 1.4535 | 0.0078982 | 1.4833 | 3.0541e+12 | 3.4683e+12 | 2.1127e+12 | 1.4435 | 1.6412 | 19.9431 | 38.6137 | 17.4878 | 538.5997 | 243.9265 | 15.0808 | 7.8056 | 0.79772
Sample | 2 | 20 | Openwater_3_T1_3 | 5565 | 2024-04-16 11:41 | 1.75e-10 | 6.96e-11 | 6.53e-12 | 26.7468 | 10.6539 |  | 13.9484 | 537.4432 | 288.3061 | -7351498352.889 | 3.2011e+12 | 9881314881.9235 | 3.2708e+12 | -3943410389.042 | 2.1916e+12 | -0.00050027 | 1.4535 | 0.0078977 | 1.4833 | 3.0541e+12 | 3.4684e+12 | 2.1127e+12 | 1.4435 | 1.6412 | 19.9434 | 38.6092 | 17.4856 | 538.5365 | 243.8959 | 15.079 | 7.8047 | 0.79774
Sample | 2 | 20 | Openwater_4_T1_1 | 5709 | 2024-04-16 11:44 | 1.77e-10 | 6.1e-11 | 6.61e-12 | 26.7237 | 9.2394 |  | 13.9484 | 537.4432 | 288.3061 | -7102364209.6212 | 3.2012e+12 | 9767512396.2423 | 3.2834e+12 | -3935171363.964 | 2.1955e+12 | -0.00050241 | 1.4535 | 0.0078428 | 1.486 | 3.0592e+12 | 3.4788e+12 | 2.1168e+12 | 1.4435 | 1.6428 | 20.2213 | 38.5747 | 15.1789 | 538.0554 | 211.7213 | 15.0656 | 6.7751 | 0.80885
Sample | 2 | 20 | Openwater_4_T1_2 | 5723 | 2024-04-16 11:45 | 1.77e-10 | 6.1e-11 | 6.61e-12 | 26.7169 | 9.2347 |  | 13.9484 | 537.4432 | 288.3061 | -7077675240.4685 | 3.2013e+12 | 9756234672.4361 | 3.2847e+12 | -3934354884.0014 | 2.1959e+12 | -0.00050262 | 1.4535 | 0.0078373 | 1.4862 | 3.0597e+12 | 3.4798e+12 | 2.1172e+12 | 1.4435 | 1.643 | 20.2246 | 38.5647 | 15.1725 | 537.9162 | 211.6329 | 15.0617 | 6.7723 | 0.80899
Sample | 2 | 20 | Openwater_4_T1_3 | 5727 | 2024-04-16 11:45 | 1.77e-10 | 6.1e-11 | 6.61e-12 | 26.7257 | 9.2342 |  | 13.9484 | 537.4432 | 288.3061 | -7070941885.2451 | 3.2013e+12 | 9753158929.5798 | 3.285e+12 | -3934132207.6479 | 2.196e+12 | -0.00050268 | 1.4535 | 0.0078358 | 1.4863 | 3.0598e+12 | 3.4801e+12 | 2.1173e+12 | 1.4435 | 1.643 | 20.2256 | 38.5774 | 15.1722 | 538.0933 | 211.6276 | 15.0666 | 6.7721 | 0.80902
Sample | 2 | 20 | SAVa_IN_T1_1 | 5876 | 2024-04-16 11:49 | 1.91e-10 | 6.17e-11 | 6.85e-12 | 27.8179 | 8.9986 |  | 13.9484 | 537.4432 | 288.3061 | -6812829935.0127 | 3.2014e+12 | 9635255453.4236 | 3.2982e+12 | -3925596280.7654 | 2.2e+12 | -0.0005049 | 1.4535 | 0.007779 | 1.4891 | 3.0651e+12 | 3.4909e+12 | 2.1215e+12 | 1.4434 | 1.6447 | 20.996 | 40.1526 | 14.7999 | 560.0657 | 206.4344 | 15.6818 | 6.6059 | 0.83984
Sample | 2 | 20 | SAVa_IN_T1_2 | 5885 | 2024-04-16 11:49 | 1.91e-10 | 6.17e-11 | 6.86e-12 | 27.812 | 8.9997 |  | 13.9484 | 537.4432 | 288.3061 | -6797118772.8247 | 3.2014e+12 | 9628078720.0924 | 3.299e+12 | -3925076702.6073 | 2.2002e+12 | -0.00050503 | 1.4535 | 0.0077755 | 1.4893 | 3.0654e+12 | 3.4915e+12 | 2.1217e+12 | 1.4434 | 1.6448 | 21.0288 | 40.144 | 14.8026 | 559.9452 | 206.4733 | 15.6785 | 6.6071 | 0.84115
Sample | 2 | 20 | SAVa_IN_T1_3 | 5895 | 2024-04-16 11:49 | 1.9e-10 | 6.16e-11 | 6.85e-12 | 27.8064 | 8.9956 |  | 13.9484 | 537.4432 | 288.3061 | -6780285384.7661 | 3.2014e+12 | 9620389362.9518 | 3.2998e+12 | -3924520011.7236 | 2.2005e+12 | -0.00050518 | 1.4535 | 0.0077718 | 1.4895 | 3.0658e+12 | 3.4922e+12 | 2.122e+12 | 1.4434 | 1.6449 | 21.0005 | 40.1359 | 14.7969 | 559.8327 | 206.3936 | 15.6753 | 6.6046 | 0.84002
Standard | 3 | 20 | Calibrate | 6046 | 2024-04-16 11:53 | 1.75e-10 | 8.23e-11 | 6.56e-12 | 26.6979 | 12.5471 |  | 13.9484 | 537.4432 | 288.3061 | -6518806756.922 | 3.2015e+12 | 9500948015.3674 | 3.3131e+12 | -3915872746.6644 | 2.2046e+12 | -0.00050743 | 1.4535 | 0.0077142 | 1.4923 | 3.0711e+12 | 3.5031e+12 | 2.1263e+12 | 1.4434 | 1.6466 | 20.1464 | 38.5346 | 20.6598 | 537.4964 | 288.1714 | 15.0499 | 9.2215 | 0.80586
Standard | 3 | 20 | Calibrate | 6049 | 2024-04-16 11:53 | 1.75e-10 | 8.23e-11 | 6.56e-12 | 26.6943 | 12.5531 |  | 13.9484 | 537.4432 | 288.3061 | -6524529443.4703 | 3.2018e+12 | 9501383488.4878 | 3.3132e+12 | -3915771452.5623 | 2.2047e+12 | -0.00050911 | 1.4536 | 0.007714 | 1.4923 | 3.0713e+12 | 3.5033e+12 | 2.1264e+12 | 1.4434 | 1.6466 | 20.1475 | 38.5299 | 20.6696 | 537.4303 | 288.3074 | 15.048 | 9.2258 | 0.8059
Standard | 3 | 20 | Calibrate | 6052 | 2024-04-16 11:53 | 1.75e-10 | 8.23e-11 | 6.56e-12 | 26.6935 | 12.5588 |  | 13.9484 | 537.4432 | 288.3061 | -6529107592.7089 | 3.202e+12 | 9501731866.984 | 3.3134e+12 | -3915690417.2807 | 2.2048e+12 | -0.00051047 | 1.4536 | 0.0077139 | 1.4923 | 3.0714e+12 | 3.5034e+12 | 2.1265e+12 | 1.4434 | 1.6466 | 20.1483 | 38.529 | 20.679 | 537.418 | 288.4398 | 15.0477 | 9.2301 | 0.80593
Standard | 3 | 30 | Calibrate | 6200 | 2024-04-16 11:57 | 1.53e-10 | 7.1e-11 | 5.58e-12 | 27.3386 | 12.7126 |  | 11.6462 | 457.9012 | 255.2268 | -6791206636.6212 | 3.2145e+12 | 9521676535.8952 | 3.3203e+12 | -3911051147.4069 | 2.2093e+12 | -0.00058783 | 1.4558 | 0.0077068 | 1.4925 | 3.0107e+12 | 3.6059e+12 | 2.092e+12 | 1.4382 | 1.7237 | 16.8 | 39.3174 | 21.9122 | 457.896 | 255.1924 | 12.8211 | 8.1662 | 0.672
Standard | 3 | 30 | Calibrate | 6207 | 2024-04-16 11:57 | 1.52e-10 | 7.09e-11 | 5.58e-12 | 27.3399 | 12.716 |  | 11.6462 | 457.9012 | 255.2268 | -6802652009.7178 | 3.215e+12 | 9522547482.1359 | 3.3206e+12 | -3910848559.2028 | 2.2095e+12 | -0.00059121 | 1.4559 | 0.0077065 | 1.4925 | 3.011e+12 | 3.6062e+12 | 2.0922e+12 | 1.4382 | 1.7237 | 16.8011 | 39.319 | 21.9181 | 457.9155 | 255.2618 | 12.8216 | 8.1684 | 0.67204
Standard | 3 | 30 | Calibrate | 6213 | 2024-04-16 11:57 | 1.52e-10 | 7.09e-11 | 5.58e-12 | 27.3314 | 12.713 |  | 11.6462 | 457.9012 | 255.2268 | -6814097382.8144 | 3.2156e+12 | 9523418428.3766 | 3.3209e+12 | -3910645970.9987 | 2.2097e+12 | -0.00059459 | 1.456 | 0.0077062 | 1.4925 | 3.0112e+12 | 3.6066e+12 | 2.0924e+12 | 1.4382 | 1.7237 | 16.8022 | 39.3067 | 21.913 | 457.772 | 255.2016 | 12.8176 | 8.1665 | 0.67209
Sample | 3 | 20 | SAV_5_T1_1 | 6372 | 2024-04-16 12:01 | 1.72e-10 | 6.18e-11 | 6.48e-12 | 26.5449 | 9.5389 |  | 13.9484 | 537.4432 | 288.3061 | -7094509023.6812 | 3.229e+12 | 9544756611.2728 | 3.3282e+12 | -3905682559.9984 | 2.2145e+12 | -0.00067736 | 1.4583 | 0.0076987 | 1.4926 | 3.0871e+12 | 3.5191e+12 | 2.1364e+12 | 1.4448 | 1.6466 | 20.0043 | 38.3521 | 15.7069 | 534.9511 | 219.0863 | 14.9786 | 7.0108 | 0.80017
Sample | 3 | 20 | SAV_5_T1_2 | 6383 | 2024-04-16 12:02 | 1.72e-10 | 6.17e-11 | 6.48e-12 | 26.543 | 9.5269 |  | 13.9484 | 537.4432 | 288.3061 | -7113966157.9454 | 3.2299e+12 | 9546237219.8819 | 3.3288e+12 | -3905338160.0514 | 2.2148e+12 | -0.0006831 | 1.4585 | 0.0076981 | 1.4927 | 3.0876e+12 | 3.5197e+12 | 2.1367e+12 | 1.4449 | 1.6466 | 20.0078 | 38.3507 | 15.6872 | 534.931 | 218.8114 | 14.9781 | 7.002 | 0.80031
Sample | 3 | 20 | SAV_5_T1_3 | 6389 | 2024-04-16 12:02 | 1.72e-10 | 6.17e-11 | 6.48e-12 | 26.5484 | 9.5218 |  | 13.9484 | 537.4432 | 288.3061 | -7124266993.7324 | 3.2304e+12 | 9547021071.4985 | 3.329e+12 | -3905155830.6677 | 2.215e+12 | -0.00068614 | 1.4586 | 0.0076979 | 1.4927 | 3.0879e+12 | 3.52e+12 | 2.1369e+12 | 1.4449 | 1.6466 | 20.0096 | 38.3592 | 15.6788 | 535.0506 | 218.6945 | 14.9814 | 6.9982 | 0.80038
Sample | 3 | 20 | SAV_6_T1_1 | 6535 | 2024-04-16 12:06 | 1.73e-10 | 6.93e-11 | 6.47e-12 | 26.7096 | 10.6998 |  | 13.9484 | 537.4432 | 288.3061 | -7382932425.7156 | 3.2427e+12 | 9566704456.5375 | 3.3358e+12 | -3900577337.2551 | 2.2195e+12 | -0.00076249 | 1.4608 | 0.0076909 | 1.4928 | 3.0951e+12 | 3.5272e+12 | 2.1414e+12 | 1.4455 | 1.6466 | 20.0252 | 38.6095 | 17.6187 | 538.5412 | 245.7535 | 15.0792 | 7.8641 | 0.80101
Sample | 3 | 20 | SAV_6_T1_2 | 6541 | 2024-04-16 12:06 | 1.73e-10 | 6.93e-11 | 6.48e-12 | 26.7074 | 10.7038 |  | 13.9484 | 537.4432 | 288.3061 | -7393233261.5026 | 3.2432e+12 | 9567488308.1541 | 3.3361e+12 | -3900395007.8715 | 2.2196e+12 | -0.00076553 | 1.4609 | 0.0076906 | 1.4928 | 3.0954e+12 | 3.5275e+12 | 2.1416e+12 | 1.4456 | 1.6466 | 20.058 | 38.6069 | 17.6253 | 538.5046 | 245.8452 | 15.0781 | 7.867 | 0.80232
Sample | 3 | 20 | SAV_6_T1_3 | 6542 | 2024-04-16 12:06 | 1.73e-10 | 6.94e-11 | 6.48e-12 | 26.7038 | 10.7035 |  | 13.9484 | 537.4432 | 288.3061 | -7394377798.8122 | 3.2433e+12 | 9567575402.7782 | 3.3361e+12 | -3900374749.0511 | 2.2197e+12 | -0.00076587 | 1.4609 | 0.0076906 | 1.4928 | 3.0954e+12 | 3.5275e+12 | 2.1416e+12 | 1.4456 | 1.6466 | 20.0582 | 38.6017 | 17.6248 | 538.4331 | 245.8374 | 15.0761 | 7.8668 | 0.80233
Sample | 3 | 20 | SAV_7_T1_1 | 6717 | 2024-04-16 12:10 | 1.72e-10 | 5.69e-11 | 6.47e-12 | 26.5782 | 8.7999 |  | 13.9484 | 537.4432 | 288.3061 | -7703402872.4206 | 3.258e+12 | 9591090951.2761 | 3.3443e+12 | -3894904867.5405 | 2.225e+12 | -0.00085708 | 1.4635 | 0.0076822 | 1.493 | 3.104e+12 | 3.5361e+12 | 2.1471e+12 | 1.4463 | 1.6467 | 20.0827 | 38.4408 | 14.4904 | 536.1878 | 202.1187 | 15.0133 | 6.4678 | 0.80331
Sample | 3 | 20 | SAV_7_T1_2 | 6724 | 2024-04-16 12:10 | 1.72e-10 | 5.69e-11 | 6.47e-12 | 26.574 | 8.7931 |  | 13.9484 | 537.4432 | 288.3061 | -7715992782.8268 | 3.2586e+12 | 9592048992.1408 | 3.3446e+12 | -3894682020.516 | 2.2252e+12 | -0.0008608 | 1.4636 | 0.0076819 | 1.493 | 3.1043e+12 | 3.5364e+12 | 2.1473e+12 | 1.4464 | 1.6467 | 20.0849 | 38.4357 | 14.4793 | 536.1166 | 201.9639 | 15.0113 | 6.4628 | 0.8034
Sample | 3 | 20 | SAV_7_T1_3 | 6730 | 2024-04-16 12:11 | 1.72e-10 | 5.69e-11 | 6.47e-12 | 26.5793 | 8.7883 |  | 13.9484 | 537.4432 | 288.3061 | -7726293618.6138 | 3.2591e+12 | 9592832843.7574 | 3.3449e+12 | -3894499691.1323 | 2.2254e+12 | -0.00086384 | 1.4637 | 0.0076816 | 1.493 | 3.1046e+12 | 3.5367e+12 | 2147471542445 | 1.4464 | 1.6467 | 20.0868 | 38.444 | 14.4714 | 536.2329 | 201.8529 | 15.0145 | 6.4593 | 0.80347
Standard | 4 | 20 | Calibrate | 6893 | 2024-04-16 12:15 | 1.73e-10 | 8.13e-11 | 6.48e-12 | 26.628 | 12.5436 |  | 13.9484 | 537.4432 | 288.3061 | -8014717020.6482 | 3.2729e+12 | 9614780689.0221 | 3.3525e+12 | -3889394468.3891 | 2.2303e+12 | -0.00094897 | 1.4661 | 0.0076738 | 1.4932 | 3.1126e+12 | 3.5447e+12 | 2.1525e+12 | 1.4471 | 1.6467 | 20.1697 | 38.5337 | 20.6554 | 537.4844 | 288.1098 | 15.0496 | 9.2195 | 0.80679
Standard | 4 | 20 | Calibrate | 6895 | 2024-04-16 12:15 | 1.73e-10 | 8.13e-11 | 6.48e-12 | 26.6267 | 12.5461 |  | 13.9484 | 537.4432 | 288.3061 | -8007368916.8908 | 3.2728e+12 | 9620926806.243 | 3.3524e+12 | -3889058016.9395 | 2.2304e+12 | -0.00094804 | 1.4661 | 0.0076756 | 1.4932 | 3.1127e+12 | 3.5448e+12 | 2152593659651 | 1.4471 | 1.6467 | 20.1701 | 38.5318 | 20.6594 | 537.4573 | 288.1653 | 15.0488 | 9.2213 | 0.80681
Standard | 4 | 20 | Calibrate | 6906 | 2024-04-16 12:15 | 1.72e-10 | 8.14e-11 | 6.48e-12 | 26.6232 | 12.5667 |  | 13.9484 | 537.4432 | 288.3061 | -7965729662.2656 | 3.2724e+12 | 9655754803.828 | 3.352e+12 | -3887151458.7254 | 2.2307e+12 | -0.00094278 | 1.466 | 0.0076856 | 1.4929 | 3.1131e+12 | 3.5451e+12 | 2.1529e+12 | 1.4471 | 1.6466 | 20.1728 | 38.5265 | 20.692 | 537.3833 | 288.62 | 15.0467 | 9.2358 | 0.80691
Standard | 4 | 30 | Calibrate | 7060 | 2024-04-16 12:19 | 1.51e-10 | 7.01e-11 | 5.51e-12 | 27.3515 | 12.7162 |  | 11.6462 | 457.9012 | 255.2268 | -7385229465.4313 | 3.2664e+12 | 10141298064.2774 | 3.347e+12 | -3860571794.2111 | 2.235e+12 | -0.00086934 | 1.4644 | 0.0078249 | 1.4887 | 3.0449e+12 | 3.6512e+12 | 2.1191e+12 | 1.4383 | 1.7234 | 16.7773 | 39.3389 | 21.9157 | 458.1466 | 255.2332 | 12.8281 | 8.1675 | 0.67109
Standard | 4 | 30 | Calibrate | 7070 | 2024-04-16 12:19 | 1.51e-10 | 7.01e-11 | 5.51e-12 | 27.3515 | 12.7168 |  | 11.6462 | 457.9012 | 255.2268 | -7346039578.7252 | 3.266e+12 | 10174077356.122 | 3.3466e+12 | -3858777386.4802 | 2.2352e+12 | -0.00086439 | 1.4642 | 0.0078343 | 1.4884 | 3.0457e+12 | 3.6518e+12 | 2.1195e+12 | 1.4383 | 1.7235 | 16.7816 | 39.3401 | 21.9167 | 458.1608 | 255.2454 | 12.8285 | 8.1679 | 0.67126
Standard | 4 | 30 | Calibrate | 7074 | 2024-04-16 12:19 | 1.51e-10 | 7.01e-11 | 5.51e-12 | 27.3447 | 12.7151 |  | 11.6462 | 457.9012 | 255.2268 | -7331343371.2104 | 3.2659e+12 | 10186369590.5638 | 3.3465e+12 | -3858104483.5811 | 2.2354e+12 | -0.00086253 | 1.4642 | 0.0078378 | 1.4883 | 3.046e+12 | 3.6521e+12 | 2.1196e+12 | 1.4383 | 1.7235 | 16.7832 | 39.3306 | 21.9139 | 458.0505 | 255.2122 | 12.8254 | 8.1668 | 0.67133
Sample | 4 | 20 | SAV_8_T1_1 | 7242 | 2024-04-16 12:24 | 1.7e-10 | 5.92e-11 | 6.39e-12 | 26.5968 | 9.2624 |  | 13.9484 | 537.4432 | 288.3061 | -6696957080.1552 | 3.2594e+12 | 10716984377.2996 | 3.3409e+12 | -3829057508.4367 | 2.24e+12 | -0.00078228 | 1.4625 | 0.00799 | 1.4838 | 3.1254e+12 | 3.5553e+12 | 2.1634e+12 | 1.4468 | 1.6436 | 19.9716 | 38.4805 | 15.2234 | 536.7415 | 212.3417 | 15.0288 | 6.7949 | 0.79886
Sample | 4 | 20 | SAV_8_T1_2 | 7247 | 2024-04-16 12:24 | 1.7e-10 | 5.91e-11 | 6.39e-12 | 26.6028 | 9.2595 |  | 13.9484 | 537.4432 | 288.3061 | -6677362136.8021 | 3.2592e+12 | 10733374023.222 | 3.3408e+12 | -3828160304.5713 | 2.2402e+12 | -0.0007798 | 1.4624 | 0.0079947 | 1.4836 | 3.1256e+12 | 3.5554e+12 | 2.1636e+12 | 1.4468 | 1.6435 | 19.9728 | 38.489 | 15.2182 | 536.8605 | 212.2696 | 15.0321 | 6.7926 | 0.79891
Sample | 4 | 20 | SAV_8_T1_3 | 7253 | 2024-04-16 12:24 | 1.7e-10 | 5.91e-11 | 6.39e-12 | 26.6006 | 9.2509 |  | 13.9484 | 537.4432 | 288.3061 | -6655317825.5299 | 3.259e+12 | 10751812374.8846 | 3.3406e+12 | -3827150950.2226 | 2.2403e+12 | -0.00077701 | 1.4623 | 0.008 | 1.4835 | 3.1259e+12 | 3.5556e+12 | 2.1638e+12 | 1.4468 | 1.6435 | 19.9742 | 38.4858 | 15.2037 | 536.8154 | 212.0672 | 15.0308 | 6.7862 | 0.79897
Sample | 4 | 20 | SAVb_IN_T1_1 | 7404 | 2024-04-16 12:28 | 1.72e-10 | 6.44e-11 | 6.45e-12 | 26.6836 | 9.9857 |  | 13.9484 | 537.4432 | 288.3061 | -6084615100.3722 | 3.2531e+12 | 11229160812.3728 | 3.3356e+12 | -3801019887.641 | 2.2445e+12 | -0.00070482 | 1.4608 | 0.0081369 | 1.4794 | 3.1314e+12 | 3.5602e+12 | 2.1685e+12 | 1.4467 | 1.6421 | 20.1976 | 38.6023 | 16.3978 | 538.4407 | 228.7239 | 15.0763 | 7.3192 | 0.8079
Sample | 4 | 20 | SAVb_IN_T1_2 | 7411 | 2024-04-16 12:28 | 1.72e-10 | 6.44e-11 | 6.45e-12 | 26.6832 | 9.9885 |  | 13.9484 | 537.4432 | 288.3061 | -6057672053.2617 | 3.2528e+12 | 11251696575.5161 | 3.3353e+12 | -3799786232.326 | 2.2447e+12 | -0.00070141 | 1.4607 | 0.0081434 | 1.4792 | 3.1317e+12 | 3.5604e+12 | 2.1687e+12 | 1.4467 | 1.6421 | 20.1993 | 38.6016 | 16.4018 | 538.4309 | 228.7786 | 15.0761 | 7.3209 | 0.80797
Sample | 4 | 20 | SAVb_IN_T1_3 | 7417 | 2024-04-16 12:28 | 1.72e-10 | 6.44e-11 | 6.44e-12 | 26.6908 | 9.9927 |  | 13.9484 | 537.4432 | 288.3061 | -6035627741.9895 | 3.2526e+12 | 11270134927.1787 | 3.3352e+12 | -3798776877.9774 | 2.2449e+12 | -0.00069862 | 1.4606 | 0.0081487 | 1.479 | 3.1319e+12 | 3.5606e+12 | 2.1689e+12 | 1.4467 | 1.642 | 20.1694 | 38.6124 | 16.4081 | 538.5824 | 228.8673 | 15.0803 | 7.3238 | 0.80678
Sample | 4 | 20 | SAV_9_T1_1 | 7541 | 2024-04-16 12:32 | 1.71e-10 | 6.15e-11 | 6.38e-12 | 26.7342 | 9.6343 |  | 13.9484 | 537.4432 | 288.3061 | -5565349101.5162 | 3.2478e+12 | 11663486429.3149 | 3.331e+12 | -3777243985.2063 | 2.2484e+12 | -0.00063913 | 1.4593 | 0.0082615 | 1.4757 | 3.1365e+12 | 3.5643e+12 | 2.1728e+12 | 1.4466 | 1.6409 | 20.0107 | 38.6724 | 15.8089 | 539.4193 | 220.5085 | 15.1037 | 7.0563 | 0.80043
Sample | 4 | 20 | SAV_9_T1_2 | 7551 | 2024-04-16 12:32 | 1.71e-10 | 6.15e-11 | 6.38e-12 | 26.7339 | 9.632 |  | 13.9484 | 537.4432 | 288.3061 | -5528608582.7292 | 3.2474e+12 | 11694217015.4193 | 3.3307e+12 | -3775561727.9585 | 2.2486e+12 | -0.00063448 | 1.4592 | 0.0082704 | 1.4754 | 3.1368e+12 | 3.5646e+12 | 2.1731e+12 | 1.4465 | 1.6408 | 20.013 | 38.6718 | 15.8044 | 539.4097 | 220.4458 | 15.1035 | 7.0543 | 0.80052
Sample | 4 | 20 | SAV_9_T1_3 | 7558 | 2024-04-16 12:32 | 1.71e-10 | 6.14e-11 | 6.38e-12 | 26.7365 | 9.6323 |  | 13.9484 | 537.4432 | 288.3061 | -5501665535.6187 | 3.2471e+12 | 11716752778.5625 | 3.3305e+12 | -3774328072.6435 | 2.2488e+12 | -0.00063107 | 1.4592 | 0.0082768 | 1.4752 | 3.1371e+12 | 3.5648e+12 | 2.1733e+12 | 1.4465 | 1.6407 | 20.0147 | 38.6753 | 15.8042 | 539.4596 | 220.444 | 15.1049 | 7.0542 | 0.80059
Standard | 5 | 20 | Calibrate | 7717 | 2024-04-16 12:36 | 1.71e-10 | 8.07e-11 | 6.41e-12 | 26.6388 | 12.595 |  | 13.9484 | 537.4432 | 288.3061 | -4901570395.4314 | 3.241e+12 | 12218685684.9342 | 3.3252e+12 | -3746851204.2638 | 2.2532e+12 | -0.00055516 | 1.4575 | 0.0084208 | 1.4709 | 3.1429e+12 | 3.5696e+12 | 2.1783e+12 | 1.4464 | 1.6393 | 20.1463 | 38.5303 | 20.6473 | 537.4364 | 287.9978 | 15.0482 | 9.2159 | 0.80585
Standard | 5 | 20 | Calibrate | 7730 | 2024-04-16 12:36 | 1.71e-10 | 8.08e-11 | 6.4e-12 | 26.6431 | 12.6136 |  | 13.9484 | 537.4432 | 288.3061 | -4893703869.3916 | 3.2414e+12 | 12221321966.6488 | 3.3257e+12 | -3736666181.7841 | 2.2534e+12 | -0.0005511 | 1.4574 | 0.0084153 | 1.471 | 3.1435e+12 | 3.5701e+12 | 2.1787e+12 | 1.4463 | 1.6393 | 20.1184 | 38.5351 | 20.6772 | 537.5041 | 288.4141 | 15.0501 | 9.2293 | 0.80474
Standard | 5 | 20 | Calibrate | 7735 | 2024-04-16 12:36 | 1.71e-10 | 8.08e-11 | 6.4e-12 | 26.6355 | 12.6168 |  | 13.9484 | 537.4432 | 288.3061 | -4890557258.9757 | 3.2415e+12 | 12222376479.3346 | 3.3259e+12 | -3732592172.7922 | 2.2535e+12 | -0.00054948 | 1.4573 | 0.0084131 | 1.471 | 3.1437e+12 | 3.5703e+12 | 2.1788e+12 | 1.4463 | 1.6393 | 20.1199 | 38.5236 | 20.6821 | 537.343 | 288.4829 | 15.0456 | 9.2315 | 0.8048
Standard | 5 | 30 | Calibrate | 7883 | 2024-04-16 12:40 | 1.48e-10 | 6.92e-11 | 5.44e-12 | 27.2847 | 12.7138 |  | 11.6462 | 457.9012 | 255.2268 | -4800878862.1226 | 3.2462e+12 | 12252430090.8805 | 3.3312e+12 | -3616482916.5238 | 2.2555e+12 | -0.00050319 | 1.4558 | 0.0083501 | 1.4716 | 3.1022e+12 | 3.6988e+12 | 2.147e+12 | 1.4407 | 1.7221 | 16.8757 | 39.3092 | 21.8945 | 457.8008 | 254.9872 | 12.8184 | 8.1596 | 0.67503
Standard | 5 | 30 | Calibrate | 7885 | 2024-04-16 12:40 | 1.48e-10 | 6.91e-11 | 5.44e-12 | 27.2897 | 12.7151 |  | 11.6462 | 457.9012 | 255.2268 | -4799698883.2167 | 3.2462e+12 | 12252825533.1377 | 3.3313e+12 | -3614955163.1519 | 2.2556e+12 | -0.00050258 | 1.4558 | 0.0083493 | 1.4716 | 3.1022e+12 | 3.6989e+12 | 2.1471e+12 | 1.4407 | 1.7221 | 16.8762 | 39.3163 | 21.8966 | 457.8831 | 255.011 | 12.8207 | 8.1604 | 0.67505
Standard | 5 | 30 | Calibrate | 7896 | 2024-04-16 12:41 | 1.48e-10 | 6.91e-11 | 5.44e-12 | 27.2895 | 12.7168 |  | 11.6462 | 457.9012 | 255.2268 | -4793012336.0829 | 3.2466e+12 | 12255066372.595 | 3.3317e+12 | -3606297894.0441 | 2.2557e+12 | -0.00049913 | 1.4557 | 0.0083446 | 1.4717 | 3.1028e+12 | 3.6993e+12 | 2.1475e+12 | 1.4407 | 1.722 | 16.8792 | 39.3158 | 21.8983 | 457.8781 | 255.0311 | 12.8206 | 8.161 | 0.67517
Sample | 5 | 20 | SAV_10_T1_1 | 8150 | 2024-04-16 12:47 | 1.7e-10 | 6.38e-11 | 6.35e-12 | 26.8304 | 10.0372 |  | 13.9484 | 537.4432 | 288.3061 | -4638828425.7038 | 3.2546e+12 | 12306737494.2002 | 3.3408e+12 | -3406671453.4423 | 2.2592e+12 | -0.00041954 | 1.4531 | 0.0082363 | 1.4727 | 3.1618e+12 | 3.5869e+12 | 2.1911e+12 | 1.4447 | 1.6375 | 20.0773 | 38.7611 | 16.4356 | 540.6552 | 229.25 | 15.1383 | 7.336 | 0.80309
Sample | 5 | 20 | SAV_10_T1_2 | 8156 | 2024-04-16 12:47 | 1.7e-10 | 6.37e-11 | 6.35e-12 | 26.8263 | 10.0275 |  | 13.9484 | 537.4432 | 288.3061 | -4634895162.684 | 3.2548e+12 | 12308055635.0575 | 3.341e+12 | -3401578942.2025 | 2.2593e+12 | -0.00041751 | 1.453 | 0.0082336 | 1.4728 | 3.1621e+12 | 3.5872e+12 | 2.1913e+12 | 1.4446 | 1.6374 | 20.0791 | 38.7544 | 16.4194 | 540.5617 | 229.0247 | 15.1357 | 7.3288 | 0.80316
Sample | 5 | 20 | SAV_10_T1_3 | 8160 | 2024-04-16 12:47 | 1.7e-10 | 6.37e-11 | 6.35e-12 | 26.8276 | 10.0241 |  | 13.9484 | 537.4432 | 288.3061 | -4632535204.8721 | 3.2549e+12 | 12308846519.5719 | 3.3412e+12 | -3398523435.4586 | 2.2594e+12 | -0.0004163 | 1.453 | 0.0082319 | 1.4728 | 3.1622e+12 | 3.5874e+12 | 2.1914e+12 | 1.4446 | 1.6374 | 20.0802 | 38.7558 | 16.4137 | 540.5819 | 228.9445 | 15.1363 | 7.3262 | 0.80321
Sample | 5 | 20 | SAV_11_T1_1 | 8251 | 2024-04-16 12:50 | 1.7e-10 | 6.2e-11 | 6.34e-12 | 26.8623 | 9.7814 |  | 13.9484 | 537.4432 | 288.3061 | -4577469522.5938 | 3.2577e+12 | 12327300491.5737 | 3.3444e+12 | -3327228278.1008 | 2.2606e+12 | -0.00038787 | 1.452 | 0.0081932 | 1.4732 | 3.1662e+12 | 3.591e+12 | 2.1941e+12 | 1.4443 | 1.637 | 20.0736 | 38.7961 | 16.0125 | 541.1446 | 223.3483 | 15.152 | 7.1471 | 0.80294
Sample | 5 | 20 | SAV_11_T1_2 | 8257 | 2024-04-16 12:50 | 1.7e-10 | 6.2e-11 | 6.34e-12 | 26.8633 | 9.7783 |  | 13.9484 | 537.4432 | 288.3061 | -4573929585.8759 | 3.2579e+12 | 12328486818.3453 | 3.3447e+12 | -3322645017.985 | 2.2607e+12 | -0.00038605 | 1.452 | 0.0081908 | 1.4732 | 3.1664e+12 | 3.5912e+12 | 2.1942e+12 | 1.4442 | 1.637 | 20.0752 | 38.7971 | 16.0071 | 541.1576 | 223.273 | 15.1524 | 7.1447 | 0.80301
Sample | 5 | 20 | SAV_11_T1_3 | 8260 | 2024-04-16 12:50 | 1.7e-10 | 6.2e-11 | 6.34e-12 | 26.8662 | 9.7764 |  | 13.9484 | 537.4432 | 288.3061 | -4571962954.366 | 3.258e+12 | 12329145888.7739 | 3.3448e+12 | -3320098762.365 | 2.2607e+12 | -0.00038503 | 1.4519 | 0.0081894 | 1.4732 | 3.1666e+12 | 3.5914e+12 | 2.1943e+12 | 1.4442 | 1.637 | 20.0761 | 38.8009 | 16.0038 | 541.211 | 223.2273 | 15.1539 | 7.1433 | 0.80304
Sample | 5 | 20 | SAV_12_T1_1 | 8370 | 2024-04-16 12:53 | 1.71e-10 | 5.81e-11 | 6.38e-12 | 26.8373 | 9.0986 |  | 13.9484 | 537.4432 | 288.3061 | -4505097483.0282 | 3.2615e+12 | 12351554283.3476 | 3.3487e+12 | -3233526071.2877 | 2.2623e+12 | -0.00035052 | 1.4508 | 0.0081424 | 1.4737 | 3.1714e+12 | 3.5958e+12 | 2.1976e+12 | 1.4438 | 1.6365 | 20.2333 | 38.7472 | 14.89 | 540.4625 | 207.6913 | 15.1329 | 6.6461 | 0.80933
Sample | 5 | 20 | SAV_12_T1_2 | 8374 | 2024-04-16 12:53 | 1.71e-10 | 5.8e-11 | 6.38e-12 | 26.8464 | 9.0983 |  | 13.9484 | 537.4432 | 288.3061 | -4502737525.2162 | 3.2616e+12 | 12352345167.862 | 3.3489e+12 | -3230470564.5438 | 2.2623e+12 | -0.0003493 | 1.4508 | 0.0081408 | 1.4737 | 3.1715e+12 | 3.5959e+12 | 2.1977e+12 | 1.4438 | 1.6365 | 20.2344 | 38.7599 | 14.8893 | 540.6397 | 207.682 | 15.1379 | 6.6458 | 0.80938
Sample | 5 | 20 | SAV_12_T1_3 | 8380 | 2024-04-16 12:53 | 1.71e-10 | 5.8e-11 | 6.38e-12 | 26.8423 | 9.0923 |  | 13.9484 | 537.4432 | 288.3061 | -4499197588.4984 | 3.2618e+12 | 12353531494.6335 | 3.3491e+12 | -3225887304.428 | 2.2624e+12 | -0.00034747 | 1.4507 | 0.0081383 | 1.4737 | 3.1718e+12 | 3.5961e+12 | 2.1979e+12 | 1.4437 | 1.6365 | 20.236 | 38.7534 | 14.8792 | 540.5488 | 207.5411 | 15.1354 | 6.6413 | 0.80944
Standard | 6 | 20 | Calibrate | 8572 | 2024-04-16 12:58 | 1.69e-10 | 8e-11 | 6.33e-12 | 26.7085 | 12.6331 |  | 13.9484 | 537.4432 | 288.3061 | -4382773003.1101 | 3.2678e+12 | 12392548464.0089 | 3.356e+12 | -3075148971.7287 | 2.265e+12 | -0.00028738 | 1.4487 | 0.0080565 | 1.4745 | 3.1801e+12 | 3.6038e+12 | 2.2035e+12 | 1.443 | 1.6356 | 20.1303 | 38.5398 | 20.6632 | 537.5691 | 288.2182 | 15.0519 | 9.223 | 0.80521
Standard | 6 | 20 | Calibrate | 8580 | 2024-04-16 12:58 | 1.69e-10 | 8e-11 | 6.33e-12 | 26.6976 | 12.6373 |  | 13.9484 | 537.4432 | 288.3061 | -4396494929.8759 | 3.2684e+12 | 12393611913.6927 | 3.3564e+12 | -3077004188.6768 | 2.2653e+12 | -0.00028898 | 1.4488 | 0.008057 | 1.4745 | 3.1805e+12 | 3.6042e+12 | 2.2038e+12 | 1.443 | 1.6357 | 20.1323 | 38.5241 | 20.6702 | 537.3504 | 288.3163 | 15.0458 | 9.2261 | 0.80529
Standard | 6 | 20 | Calibrate | 8583 | 2024-04-16 12:58 | 1.69e-10 | 8e-11 | 6.33e-12 | 26.7007 | 12.6404 |  | 13.9484 | 537.4432 | 288.3061 | -4400717061.1885 | 3.2686e+12 | 12393939128.98 | 3.3565e+12 | -3077575024.6608 | 2.2654e+12 | -0.00028947 | 1.4488 | 0.0080571 | 1.4745 | 3.1806e+12 | 3.6044e+12 | 2.2038e+12 | 1.443 | 1.6357 | 20.1329 | 38.5286 | 20.6753 | 537.4123 | 288.3877 | 15.0475 | 9.2284 | 0.80532
Standard | 6 | 30 | Calibrate | 8721 | 2024-04-16 13:02 | 1.46e-10 | 6.85e-11 | 5.36e-12 | 27.3045 | 12.7706 |  | 11.6462 | 457.9012 | 255.2268 | -4625545553.582 | 3.2783e+12 | 12411363343.0299 | 3.363e+12 | -3107972040.811 | 2.2699e+12 | -0.00031574 | 1.4493 | 0.0080647 | 1.4745 | 3.1395e+12 | 3.7354e+12 | 2.1766e+12 | 1.4399 | 1.7164 | 16.8277 | 39.3148 | 21.9201 | 457.8663 | 255.2851 | 12.8203 | 8.1691 | 0.67311
Standard | 6 | 30 | Calibrate | 8724 | 2024-04-16 13:02 | 1.46e-10 | 6.85e-11 | 5.36e-12 | 27.2975 | 12.7666 |  | 11.6462 | 457.9012 | 255.2268 | -4630823217.7227 | 3.2785e+12 | 12411772362.1391 | 3.3632e+12 | -3108685585.791 | 2.27e+12 | -0.00031635 | 1.4493 | 0.0080649 | 1.4745 | 3.1396e+12 | 3.7355e+12 | 2.1767e+12 | 1.4399 | 1.7165 | 16.8281 | 39.3046 | 21.9133 | 457.7469 | 255.2059 | 12.8169 | 8.1666 | 0.67312
Standard | 6 | 30 | Calibrate | 8739 | 2024-04-16 13:02 | 1.46e-10 | 6.84e-11 | 5.36e-12 | 27.3041 | 12.7713 |  | 11.6462 | 457.9012 | 255.2268 | -4655100472.7699 | 3.2795e+12 | 12413653850.0412 | 3.3639e+12 | -3111967892.6992 | 2.2704e+12 | -0.00031919 | 1.4494 | 0.0080657 | 1.4745 | 3.1399e+12 | 3.7363e+12 | 2.1771e+12 | 1.4398 | 1.7165 | 16.8298 | 39.3134 | 21.9216 | 457.8498 | 255.3024 | 12.8198 | 8.1697 | 0.67319
Sample | 6 | 20 | Hardwoods_IN_T1_1 | 9015 | 2024-04-16 13:09 | 1.7e-10 | 6e-11 | 6.35e-12 | 26.8375 | 9.4549 |  | 13.9484 | 537.4432 | 288.3061 | -5104757457.5571 | 3.2989e+12 | 12448502278.1412 | 3.3769e+12 | -3172761924.9995 | 2.2794e+12 | -0.00037171 | 1.4505 | 0.008081 | 1.4745 | 3.1968e+12 | 3.6259e+12 | 2.2159e+12 | 1.4431 | 1.6361 | 20.3 | 38.7293 | 15.4694 | 540.2121 | 215.7733 | 15.1259 | 6.9047 | 0.812
Sample | 6 | 20 | Hardwoods_IN_T1_2 | 9021 | 2024-04-16 13:10 | 1.7e-10 | 6e-11 | 6.35e-12 | 26.8329 | 9.4519 |  | 13.9484 | 537.4432 | 288.3061 | -5114257253.0103 | 3.2994e+12 | 12449238512.5376 | 3.3772e+12 | -3174046305.9636 | 2.2796e+12 | -0.00037282 | 1.4506 | 0.0080813 | 1.4745 | 3.1971e+12 | 3.6262e+12 | 2.2161e+12 | 1.4431 | 1.6361 | 20.3014 | 38.7227 | 15.4644 | 540.1207 | 215.7042 | 15.1234 | 6.9025 | 0.81206
Sample | 6 | 20 | Hardwoods_IN_T1_3 | 9024 | 2024-04-16 13:10 | 1.7e-10 | 6e-11 | 6.35e-12 | 26.8267 | 9.4487 |  | 13.9484 | 537.4432 | 288.3061 | -5119534917.151 | 3.2996e+12 | 12449647531.6468 | 3.3773e+12 | -3174759850.9437 | 2.2797e+12 | -0.00037344 | 1.4506 | 0.0080815 | 1.4745 | 3.1972e+12 | 3.6263e+12 | 2.2162e+12 | 1.4431 | 1.6361 | 20.3022 | 38.7138 | 15.4593 | 539.9963 | 215.6327 | 15.1199 | 6.9002 | 0.81209
Sample | 6 | 20 | Hardwoods_13_T1_1 | 9188 | 2024-04-16 13:14 | 1.68e-10 | 4.94e-11 | 6.28e-12 | 26.8159 | 7.8733 |  | 13.9484 | 537.4432 | 288.3061 | -5386584722.6701 | 3.3111e+12 | 12470343898.57 | 3.3851e+12 | -3210865226.9342 | 2.285e+12 | -0.00040463 | 1.4512 | 0.0080905 | 1.4745 | 3.2034e+12 | 3.6345e+12 | 2.2207e+12 | 1.4432 | 1.6363 | 20.1172 | 38.6995 | 12.8831 | 539.7972 | 179.6993 | 15.1143 | 5.7504 | 0.80469
Sample | 6 | 20 | Hardwoods_13_T1_2 | 9194 | 2024-04-16 13:14 | 1.68e-10 | 4.94e-11 | 6.28e-12 | 26.8154 | 7.8695 |  | 13.9484 | 537.4432 | 288.3061 | -5396084518.1234 | 3.3115e+12 | 12471080132.9665 | 3.3853e+12 | -3212149607.8983 | 2.2852e+12 | -0.00040574 | 1.4513 | 0.0080908 | 1.4745 | 3.2036e+12 | 3.6348e+12 | 2.2209e+12 | 1.4432 | 1.6363 | 20.1185 | 38.6988 | 12.877 | 539.7862 | 179.6133 | 15.114 | 5.7476 | 0.80474
Sample | 6 | 20 | Hardwoods_13_T1_3 | 9201 | 2024-04-16 13:14 | 1.68e-10 | 4.94e-11 | 6.28e-12 | 26.8179 | 7.8677 |  | 13.9484 | 537.4432 | 288.3061 | -5407695379.2329 | 3.312e+12 | 12471979975.0066 | 3.3857e+12 | -3213719406.8544 | 2.2854e+12 | -0.0004071 | 1.4513 | 0.0080912 | 1.4745 | 3.2039e+12 | 3.6351e+12 | 2.2211e+12 | 1.4432 | 1.6363 | 20.1202 | 38.7024 | 12.8741 | 539.8375 | 179.5733 | 15.1154 | 5.7463 | 0.80481
Sample | 6 | 20 | Hardwoods_14_T1_1 | 9371 | 2024-04-16 13:19 | 1.68e-10 | 5.78e-11 | 6.26e-12 | 26.8152 | 9.2405 |  | 13.9484 | 537.4432 | 288.3061 | -5684244980.2053 | 3.3239e+12 | 12493412576.3263 | 3.3937e+12 | -3251109163.809 | 2.2909e+12 | -0.0004394 | 1.452 | 0.0081006 | 1.4745 | 3.2103e+12 | 3.6436e+12 | 2.2258e+12 | 1.4432 | 1.6365 | 20.0962 | 38.7 | 15.1221 | 539.8029 | 210.9289 | 15.1145 | 6.7497 | 0.80385
Sample | 6 | 20 | Hardwoods_14_T1_2 | 9381 | 2024-04-16 13:19 | 1.68e-10 | 5.79e-11 | 6.26e-12 | 26.8062 | 9.2394 |  | 13.9484 | 537.4432 | 288.3061 | -5701133505.4555 | 3.3247e+12 | 12494721437.4756 | 3.3942e+12 | -3253392507.7452 | 2.2912e+12 | -0.00044137 | 1.452 | 0.0081011 | 1.4745 | 3.2106e+12 | 3.6441e+12 | 2.2261e+12 | 1.4432 | 1.6365 | 20.0987 | 38.687 | 15.1203 | 539.6219 | 210.9042 | 15.1094 | 6.7489 | 0.80395
Sample | 6 | 20 | Hardwoods_14_T1_3 | 9385 | 2024-04-16 13:19 | 1.68e-10 | 5.79e-11 | 6.26e-12 | 26.805 | 9.2396 |  | 13.9484 | 537.4432 | 288.3061 | -5707466702.4243 | 3.3249e+12 | 12495212260.4066 | 3.3944e+12 | -3254248761.7213 | 2.2913e+12 | -0.00044211 | 1.4521 | 0.0081013 | 1.4745 | 3.2108e+12 | 3.6443e+12 | 2.2262e+12 | 1.4432 | 1.6365 | 20.0996 | 38.6853 | 15.1207 | 539.5983 | 210.9095 | 15.1088 | 6.7491 | 0.80398
Standard | 7 | 20 | Calibrate | 9582 | 2024-04-16 13:24 | 1.67e-10 | 7.89e-11 | 6.25e-12 | 26.6922 | 12.6222 |  | 13.9484 | 537.4432 | 288.3061 | -6028348682.1785 | 3.3388e+12 | 12520080622.2432 | 3.4037e+12 | -3297632296.5083 | 2.2977e+12 | -0.00047959 | 1.4529 | 0.0081122 | 1.4745 | 3.2182e+12 | 3.6541e+12 | 2.2317e+12 | 1.4433 | 1.6367 | 20.1139 | 38.524 | 20.659 | 537.3492 | 288.1604 | 15.0458 | 9.2211 | 0.80456
Standard | 7 | 20 | Calibrate | 9589 | 2024-04-16 13:24 | 1.67e-10 | 7.89e-11 | 6.25e-12 | 26.6982 | 12.6301 |  | 13.9484 | 537.4432 | 288.3061 | -6039959543.2881 | 3.3393e+12 | 12520980464.2833 | 3.404e+12 | -3299202095.4644 | 2.2979e+12 | -0.00048095 | 1.4529 | 0.0081126 | 1.4745 | 3.2185e+12 | 3.6544e+12 | 2.2319e+12 | 1.4433 | 1.6367 | 20.1156 | 38.5327 | 20.6721 | 537.4706 | 288.3433 | 15.0492 | 9.227 | 0.80462
Standard | 7 | 20 | Calibrate | 9592 | 2024-04-16 13:24 | 1.67e-10 | 7.89e-11 | 6.25e-12 | 26.7003 | 12.6334 |  | 13.9484 | 537.4432 | 288.3061 | -6044181674.6006 | 3.3395e+12 | 12521307679.5706 | 3.4041e+12 | -3299772931.4485 | 2.298e+12 | -0.00048144 | 1.4529 | 0.0081127 | 1.4745 | 3.2186e+12 | 3.6546e+12 | 2.232e+12 | 1.4433 | 1.6367 | 20.1162 | 38.5357 | 20.6775 | 537.5117 | 288.4179 | 15.0503 | 9.2294 | 0.80465
Standard | 7 | 30 | Calibrate | 9726 | 2024-04-16 13:28 | 1.45e-10 | 6.76e-11 | 5.3e-12 | 27.3408 | 12.7584 |  | 11.6462 | 457.9012 | 255.2268 | -6262676970.0254 | 3.3489e+12 | 12538241070.6896 | 3.4105e+12 | -3329313693.6226 | 2.3023e+12 | -0.00050696 | 1.4534 | 0.0081201 | 1.4745 | 3.161e+12 | 3.7866e+12 | 2.2025e+12 | 1.4382 | 1.7181 | 16.7534 | 39.3227 | 21.9199 | 457.9577 | 255.282 | 12.8228 | 8.169 | 0.67014
Standard | 7 | 30 | Calibrate | 9741 | 2024-04-16 13:28 | 1.45e-10 | 6.75e-11 | 5.3e-12 | 27.3289 | 12.7564 |  | 11.6462 | 457.9012 | 255.2268 | -6286954225.0726 | 3.3499e+12 | 12540122558.5917 | 3.4112e+12 | -3332596000.5308 | 2.3028e+12 | -0.0005098 | 1.4535 | 0.0081209 | 1.4745 | 3.1613e+12 | 3.7874e+12 | 2.2029e+12 | 1.4382 | 1.7181 | 16.7551 | 39.3049 | 21.9168 | 457.7507 | 255.2458 | 12.817 | 8.1679 | 0.6702
Standard | 7 | 30 | Calibrate | 9747 | 2024-04-16 13:28 | 1.45e-10 | 6.75e-11 | 5.29e-12 | 27.3294 | 12.7573 |  | 11.6462 | 457.9012 | 255.2268 | -6297509553.3539 | 3.3504e+12 | 12540940596.81 | 3.4115e+12 | -3334023090.4909 | 2.303e+12 | -0.00051103 | 1.4535 | 0.0081213 | 1.4745 | 3.1615e+12 | 3.7877e+12 | 2.203e+12 | 1.4382 | 1.7181 | 16.7242 | 39.3052 | 21.9184 | 457.7547 | 255.2654 | 12.8171 | 8.1685 | 0.66897

## Solubility concentrations
O2.conc_uMol.kg | N2.conc_uMol.kg | Ar.conc_uMol.kg
288.3061 | 537.4432 | 13.9484
255.2268 | 457.9012 | 11.6462

## Calibration factors
calfactor_28 | calfactor_32 | calfactor_40 | calfactor_N2Ar | calfactor_O2Ar
2.9858e+12 | 3.3446e+12 | 2.0634e+12 | 1.4479 | 1.6211
2.9353e+12 | 3.4963e+12 | 2.0408e+12 | 1.4395 | 1.7132
3.0364e+12 | 3.4322e+12 | 2.0986e+12 | 1.4437 | 1.6357
2.9542e+12 | 3.535e+12 | 2058836225672 | 1.4387 | 1.7166
3.0711e+12 | 3.5031e+12 | 2.1263e+12 | 1.4434 | 1.6466
3.0059e+12 | 3.5981e+12 | 2.0871e+12 | 1.4383 | 1.7237
3.1126e+12 | 3.5447e+12 | 2.1525e+12 | 1.4471 | 1.6467
3.0325e+12 | 3.6409e+12 | 2.1136e+12 | 1.4376 | 1.7234
3.1429e+12 | 3.5696e+12 | 2.1783e+12 | 1.4464 | 1.6393
3.0939e+12 | 3.6918e+12 | 2.1408e+12 | 1.4408 | 1.7235
3.1801e+12 | 3.6038e+12 | 2.2035e+12 | 1.443 | 1.6356
3.1363e+12 | 3.7278e+12 | 2.1728e+12 | 1.4401 | 1.7162
3.2182e+12 | 3.6541e+12 | 2.2317e+12 | 1.4433 | 1.6367
3.1579e+12 | 3.7793e+12 | 2.1988e+12 | 1.4385 | 1.7178

## Drift corrected factors
calslope_28 | calintercept_28 | calslope_32 | calintercept_32 | calslope_40 | calintercept_40 | calslope_N2Ar | calintercept_N2Ar | calslope_O2Ar | calintercept_O2Ar | DRIFT.calslope_28 | DRIFT.calintercept_28 | DRIFT.calslope_32 | DRIFT.calintercept_32 | DRIFT.calslope_40 | DRIFT.calintercept_40 | DRIFT.calslope_N2Ar | DRIFT.calintercept_N2Ar | DRIFT.calslope_O2Ar | DRIFT.calintercept_O2Ar
-5053149217.1761 | 3.0869e+12 | 15163832586.8587 | 3.0413e+12 | -2257730714.3678 | 2.1085e+12 | -0.00084326 | 1.4648 | 0.0092051 | 1.437 | -207134480926.648 | 7.4526e+12 | -319552255963.505 | 1.212e+13 | -112130647582.855 | 4.5438e+12 | 0.022922 | -0.73738 | -0.072994 | 2.4126
-8220101176.7143 | 3.2008e+12 | 10278085710.3796 | 3.2267e+12 | -3972135638.6381 | 2.178e+12 | -0.0004928 | 1.4535 | 0.0080891 | 1.4739 | 96960315217.7192 | 38518372887.0743 | -44290697129.9812 | 4.9263e+12 | 3206539489.7964 | 1.516e+12 | -0.00083333 | -0.00069585 | -0.021365 | 1.0487
-6518806756.922 | 3.2015e+12 | 9500948015.3674 | 3.3131e+12 | -3915872746.6644 | 2.2046e+12 | -0.00050743 | 1.4535 | 0.0077142 | 1.4923 | -98888023554.6661 | 4.7212e+12 | 7524975519.3298 | 2.6018e+12 | 1750362083.3839 | 1.7003e+12 | -0.029189 | 0.83185 | -0.0026665 | 0.060758
-8014717020.6482 | 3.2729e+12 | 9614780689.0221 | 3.3525e+12 | -3889394468.3891 | 2.2303e+12 | -0.00094897 | 1.4661 | 0.0076738 | 1.4932 | 211625388213.01 | -2.1702e+12 | 177008175961.297 | -1.8495e+12 | 9689801746.9935 | 1.5581e+12 | 0.026771 | -0.58377 | 0.050777 | -1.5158
-4901570395.4314 | 3.241e+12 | 12218685684.9342 | 3.3252e+12 | -3746851204.2638 | 2.2532e+12 | -0.00055516 | 1.4575 | 0.0084208 | 1.4709 | 33983392491.7039 | 1.7567e+12 | 11388737006.8579 | 2.013e+12 | 43999297112.2317 | 773061593061.946 | 0.017541 | -0.57495 | -0.023861 | 0.23564
-4382773003.1101 | 3.2678e+12 | 12392548464.0089 | 3.356e+12 | -3075148971.7287 | 2.265e+12 | -0.00028738 | 1.4487 | 0.0080565 | 1.4745 | -91198036351.1951 | 3.9347e+12 | 7067850206.1863 | 2.6431e+12 | -12330057255.2687 | 1.8097e+12 | -0.010652 | 0.2291 | 0.0030851 | -0.00167
-6028348682.1785 | 3.3388e+12 | 12520080622.2432 | 3.4037e+12 | -3297632296.5083 | 2.2977e+12 | -0.00047959 | 1.4529 | 0.0081122 | 1.4745 | -91198036351.1951 | 3.9347e+12 | 7067850206.1863 | 2.6431e+12 | -12330057255.2687 | 1.8097e+12 | -0.010652 | 0.2291 | 0.0030851 | -0.00167