## Results summary
CollectionTemp | Label | Notes | arSat.conc_uMol.kg | n2Sat.conc_uMol.kg | o2Sat.conc_uMol.kg | Ar_uMolL | N2Ar | O2Ar | N2_uMolL | O2_uMolL | N2_mgL | O2_mgL | Ar_mgL
20 | Openwater_IN_T1_1 |  | 13.9484 | 537.4432 | 288.3061 | 13.7505 | 38.7692 | 18.8286 | 540.7688 | 262.6295 | 15.1415 | 8.4041 | 0.55002
20 | Openwater_IN_T1_2 |  | 13.9484 | 537.4432 | 288.3061 | 13.7509 | 38.7697 | 18.8274 | 540.7755 | 262.6124 | 15.1417 | 8.4036 | 0.55003
20 | Openwater_IN_T1_3 |  | 13.9484 | 537.4432 | 288.3061 | 13.7519 | 38.7677 | 18.8212 | 540.7473 | 262.5255 | 15.1409 | 8.4008 | 0.55008
20 | Openwater_1_T1_1 |  | 13.9484 | 537.4432 | 288.3061 | 13.8426 | 38.7828 | 17.2788 | 540.9587 | 241.0114 | 15.1468 | 7.7124 | 0.55371
20 | Openwater_1_T1_2 |  | 13.9484 | 537.4432 | 288.3061 | 13.8437 | 38.7909 | 17.2759 | 541.0716 | 240.9716 | 15.15 | 7.7111 | 0.55375
20 | Openwater_1_T1_3 |  | 13.9484 | 537.4432 | 288.3061 | 13.846 | 38.7827 | 17.2532 | 540.9573 | 240.6543 | 15.1468 | 7.7009 | 0.55384
20 | Openwater_2_T1_1 |  | 13.9484 | 537.4432 | 288.3061 | 13.9147 | 38.8542 | 17.2892 | 541.9539 | 241.1567 | 15.1747 | 7.717 | 0.55659
20 | Openwater_2_T1_2 |  | 13.9484 | 537.4432 | 288.3061 | 13.9173 | 38.8568 | 17.2964 | 541.9905 | 241.2567 | 15.1757 | 7.7202 | 0.55669
20 | Openwater_2_T1_3 |  | 13.9484 | 537.4432 | 288.3061 | 13.9203 | 38.8424 | 17.294 | 541.7894 | 241.2241 | 15.1701 | 7.7192 | 0.55681
20 | Openwater_3_T1_1 |  | 13.9484 | 537.4432 | 288.3061 | 13.7951 | 38.62 | 17.4917 | 538.6875 | 243.9819 | 15.0833 | 7.8074 | 0.5518
20 | Openwater_3_T1_2 |  | 13.9484 | 537.4432 | 288.3061 | 13.7958 | 38.6137 | 17.4878 | 538.5997 | 243.9265 | 15.0808 | 7.8056 | 0.55183
20 | Openwater_3_T1_3 |  | 13.9484 | 537.4432 | 288.3061 | 13.796 | 38.6092 | 17.4856 | 538.5365 | 243.8959 | 15.079 | 7.8047 | 0.55184
20 | Openwater_4_T1_1 |  | 13.9484 | 537.4432 | 288.3061 | 13.9919 | 38.5747 | 15.1789 | 538.0554 | 211.7213 | 15.0656 | 6.7751 | 0.55967
20 | Openwater_4_T1_2 |  | 13.9484 | 537.4432 | 288.3061 | 13.9945 | 38.5647 | 15.1725 | 537.9162 | 211.6329 | 15.0617 | 6.7723 | 0.55978
20 | Openwater_4_T1_3 |  | 13.9484 | 537.4432 | 288.3061 | 13.9953 | 38.5774 | 15.1722 | 538.0933 | 211.6276 | 15.0666 | 6.7721 | 0.55981
20 | SAVa_IN_T1_1 |  | 13.9484 | 537.4432 | 288.3061 | 14.5322 | 40.1526 | 14.7999 | 560.0657 | 206.4344 | 15.6818 | 6.6059 | 0.58129
20 | SAVa_IN_T1_2 |  | 13.9484 | 537.4432 | 288.3061 | 14.5552 | 40.144 | 14.8026 | 559.9452 | 206.4733 | 15.6785 | 6.6071 | 0.58221
20 | SAVa_IN_T1_3 |  | 13.9484 | 537.4432 | 288.3061 | 14.5358 | 40.1359 | 14.7969 | 559.8327 | 206.3936 | 15.6753 | 6.6046 | 0.58143

## Full results
Type | Group | CollectionTemp | Label | Index | Time | X28 | X32 | X40 | N2.Ar | O2.Ar | Notes | arSat.conc_uMol.kg | n2Sat.conc_uMol.kg | o2Sat.conc_uMol.kg | INTERPOLATED.calslope_28 | INTERPOLATED.calintercept_28 | INTERPOLATED.calslope_32 | INTERPOLATED.calintercept_32 | INTERPOLATED.calslope_40 | INTERPOLATED.calintercept_40 | INTERPOLATED.calslope_N2Ar | INTERPOLATED.calintercept_N2Ar | INTERPOLATED.calslope_O2Ar | INTERPOLATED.calintercept_O2Ar | INTERPOLATED.calfactor_28 | INTERPOLATED.calfactor_32 | INTERPOLATED.calfactor_40 | INTERPOLATED.calfactor_N2Ar | INTERPOLATED.calfactor_O2Ar | Ar_uMolL | N2Ar | O2Ar | N2_uMolL | O2_uMolL | N2_mgL | O2_mgL | Ar_mgL
Standard | 1 | 20 | Calibrate | 4207 | 2024-04-16 11:06 | 1.8e-10 | 8.62e-11 | 6.76e-12 | 26.6111 | 12.7513 |  | 13.9484 | 537.4432 | 288.3061 | -5053149217.1761 | 3.0869e+12 | 15163832586.8587 | 3.0413e+12 | -2257730714.3678 | 2.1085e+12 | -0.00084326 | 1.4648 | 0.0092051 | 1.437 | 2.9858e+12 | 3.3446e+12 | 2.0634e+12 | 1.4479 | 1.6211 | 13.9484 | 38.5309 | 20.6713 | 537.4451 | 288.3314 | 15.0485 | 9.2266 | 0.55794
Standard | 1 | 20 | Calibrate | 4212 | 2024-04-16 11:06 | 1.8e-10 | 8.62e-11 | 6.76e-12 | 26.6091 | 12.7494 |  | 13.9484 | 537.4432 | 288.3061 | -5072328335.7805 | 3.0875e+12 | 15134244415.0102 | 3.0425e+12 | -2268113181.7366 | 2.1089e+12 | -0.00084114 | 1.4647 | 0.0091983 | 1.4372 | 2.9861e+12 | 3.3451e+12 | 2.0636e+12 | 1.4479 | 1.6212 | 13.9499 | 38.5274 | 20.6692 | 537.3957 | 288.303 | 15.0471 | 9.2257 | 0.55799
Standard | 1 | 20 | Calibrate | 4218 | 2024-04-16 11:06 | 1.8e-10 | 8.62e-11 | 6.76e-12 | 26.6128 | 12.7499 |  | 13.9484 | 537.4432 | 288.3061 | -5093904844.2103 | 3.0883e+12 | 15100957721.6807 | 3.0437e+12 | -2279793457.5265 | 2.1094e+12 | -0.00083875 | 1.4646 | 0.0091907 | 1.4375 | 2.9864e+12 | 3.3457e+12 | 2.0638e+12 | 1.4479 | 1.6213 | 13.9515 | 38.5319 | 20.6714 | 537.459 | 288.3331 | 15.0489 | 9.2267 | 0.55806
Standard | 1 | 30 | Calibrate | 4442 | 2024-04-16 11:12 | 1.56e-10 | 7.3e-11 | 5.71e-12 | 27.3073 | 12.7904 |  | 11.6462 | 457.9012 | 255.2268 | -5923401723.8471 | 3.1182e+12 | 13821269289.2342 | 3.0923e+12 | -2728835171.2263 | 2.1276e+12 | -0.00074696 | 1.4617 | 0.0088984 | 1.4471 | 2.9405e+12 | 3.5069e+12 | 2.0458e+12 | 1.4393 | 1.7141 | 11.6813 | 39.3031 | 21.924 | 457.7294 | 255.3304 | 12.8164 | 8.1706 | 0.46725
Standard | 1 | 30 | Calibrate | 4448 | 2024-04-16 11:12 | 1.56e-10 | 7.3e-11 | 5.71e-12 | 27.3126 | 12.7922 |  | 11.6462 | 457.9012 | 255.2268 | -5944978232.277 | 3.1189e+12 | 13787982595.9047 | 3.0935e+12 | -2740515447.0162 | 2.1281e+12 | -0.00074457 | 1.4616 | 0.0088908 | 1.4474 | 2.9406e+12 | 3.5072e+12 | 2.0459e+12 | 1.4393 | 1.7141 | 11.682 | 39.3105 | 21.9273 | 457.8165 | 255.3686 | 12.8189 | 8.1718 | 0.46728
Standard | 1 | 30 | Calibrate | 4455 | 2024-04-16 11:12 | 1.56e-10 | 7.3e-11 | 5.7e-12 | 27.3209 | 12.7941 |  | 11.6462 | 457.9012 | 255.2268 | -5971349520.3579 | 3.1199e+12 | 13747298859.613 | 3.0951e+12 | -2754791339.6483 | 2.1287e+12 | -0.00074165 | 1.4615 | 0.0088815 | 1.4477 | 2.9408e+12 | 3.5075e+12 | 2.046e+12 | 1.4393 | 1.7141 | 11.6624 | 39.3223 | 21.9309 | 457.9531 | 255.4109 | 12.8227 | 8.1731 | 0.46649
Sample | 1 | 20 | Openwater_IN_T1_1 | 4618 | 2024-04-16 11:16 | 1.77e-10 | 7.65e-11 | 6.61e-12 | 26.8135 | 11.5648 |  | 13.9484 | 537.4432 | 288.3061 | -6573094366.5684 | 3.1415e+12 | 12818969967.8672 | 3130280789886 | -3080541253.3439 | 2.1419e+12 | -0.00067506 | 1.4594 | 0.0086695 | 1.4547 | 3.0101e+12 | 3.3867e+12 | 2.0803e+12 | 1.4459 | 1.6281 | 13.7505 | 38.7692 | 18.8286 | 540.7688 | 262.6295 | 15.1415 | 8.4041 | 0.55002
Sample | 1 | 20 | Openwater_IN_T1_2 | 4619 | 2024-04-16 11:16 | 1.77e-10 | 7.65e-11 | 6.61e-12 | 26.814 | 11.5639 |  | 13.9484 | 537.4432 | 288.3061 | -6577889146.2195 | 3.1417e+12 | 12811572924.9051 | 3.1306e+12 | -3083136870.1861 | 2.142e+12 | -0.00067453 | 1.4594 | 0.0086678 | 1.4548 | 3.0102e+12 | 3.3868e+12 | 2.0803e+12 | 1.4459 | 1.6281 | 13.7509 | 38.7697 | 18.8274 | 540.7755 | 262.6124 | 15.1417 | 8.4036 | 0.55003
Sample | 1 | 20 | Openwater_IN_T1_3 | 4623 | 2024-04-16 11:16 | 1.77e-10 | 7.65e-11 | 6.61e-12 | 26.813 | 11.5596 |  | 13.9484 | 537.4432 | 288.3061 | -6592273485.1728 | 3.1422e+12 | 12789381796.0187 | 3.1314e+12 | -3090923720.7126 | 2.1423e+12 | -0.00067294 | 1.4593 | 0.0086627 | 1.4549 | 3.0104e+12 | 3.3872e+12 | 2.0805e+12 | 1.4459 | 1.6282 | 13.7519 | 38.7677 | 18.8212 | 540.7473 | 262.5255 | 15.1409 | 8.4008 | 0.55008
Sample | 1 | 20 | Openwater_1_T1_1 | 4727 | 2024-04-16 11:19 | 1.78e-10 | 7.04e-11 | 6.64e-12 | 26.833 | 10.6008 |  | 13.9484 | 537.4432 | 288.3061 | -6975855857.2591 | 3.156e+12 | 12197618359.0493 | 3.1538e+12 | -3298573068.0883 | 2.1507e+12 | -0.00063049 | 1.4579 | 0.0085275 | 1.4594 | 3.0165e+12 | 3.3978e+12 | 2.0847e+12 | 1.4453 | 1.6299 | 13.8426 | 38.7828 | 17.2788 | 540.9587 | 241.0114 | 15.1468 | 7.7124 | 0.55371
Sample | 1 | 20 | Openwater_1_T1_2 | 4731 | 2024-04-16 11:19 | 1.78e-10 | 7.04e-11 | 6.64e-12 | 26.839 | 10.5986 |  | 13.9484 | 537.4432 | 288.3061 | -6990240196.2124 | 3.1566e+12 | 12175427230.1629 | 3.1547e+12 | -3306359918.6149 | 2.151e+12 | -0.0006289 | 1.4579 | 0.0085225 | 1.4596 | 3.0167e+12 | 3.3982e+12 | 2.0849e+12 | 1.4453 | 1.63 | 13.8437 | 38.7909 | 17.2759 | 541.0716 | 240.9716 | 15.15 | 7.7111 | 0.55375
Sample | 1 | 20 | Openwater_1_T1_3 | 4739 | 2024-04-16 11:19 | 1.78e-10 | 7.03e-11 | 6.64e-12 | 26.8341 | 10.5837 |  | 13.9484 | 537.4432 | 288.3061 | -7021406263.9444 | 3.1577e+12 | 12127346450.9092 | 3.1565e+12 | -3323231428.0892 | 2.1517e+12 | -0.00062545 | 1.4578 | 0.0085115 | 1.4599 | 3.0172e+12 | 3.3991e+12 | 2.0852e+12 | 1.4453 | 1.6302 | 13.846 | 38.7827 | 17.2532 | 540.9573 | 240.6543 | 15.1468 | 7.7009 | 0.55384
Sample | 1 | 20 | Openwater_2_T1_1 | 4914 | 2024-04-16 11:24 | 1.79e-10 | 7.04e-11 | 6.65e-12 | 26.8998 | 10.5865 |  | 13.9484 | 537.4432 | 288.3061 | -7668701516.8402 | 3.181e+12 | 11128745651.0232 | 3.1944e+12 | -3673639701.7856 | 2.1659e+12 | -0.00055382 | 1.4555 | 0.0082834 | 1.4675 | 3.0276e+12 | 3.417e+12 | 2.0924e+12 | 1.4444 | 1.6331 | 13.9147 | 38.8542 | 17.2892 | 541.9539 | 241.1567 | 15.1747 | 7.717 | 0.55659
Sample | 1 | 20 | Openwater_2_T1_2 | 4924 | 2024-04-16 11:24 | 1.79e-10 | 7.04e-11 | 6.65e-12 | 26.9025 | 10.5898 |  | 13.9484 | 537.4432 | 288.3061 | -7704662364.2233 | 3.1823e+12 | 11073267828.8073 | 3.1965e+12 | -3693106828.102 | 2.1667e+12 | -0.00054984 | 1.4554 | 0.0082707 | 1.4679 | 3.0282e+12 | 3.418e+12 | 2.0928e+12 | 1.4444 | 1.6333 | 13.9173 | 38.8568 | 17.2964 | 541.9905 | 241.2567 | 15.1757 | 7.7202 | 0.55669
Sample | 1 | 20 | Openwater_2_T1_3 | 4935 | 2024-04-16 11:24 | 1.79e-10 | 7.04e-11 | 6.65e-12 | 26.8935 | 10.5872 |  | 13.9484 | 537.4432 | 288.3061 | -7745417991.2575 | 3.1837e+12 | 11010392963.6293 | 3.1989e+12 | -3715169571.2607 | 2.1676e+12 | -0.00054533 | 1.4552 | 0.0082563 | 1.4684 | 3.0288e+12 | 3.4191e+12 | 2.0933e+12 | 1.4443 | 1.6335 | 13.9203 | 38.8424 | 17.294 | 541.7894 | 241.2241 | 15.1701 | 7.7192 | 0.55681
Standard | 2 | 20 | Calibrate | 5063 | 2024-04-16 11:28 | 1.77e-10 | 8.4e-11 | 6.65e-12 | 26.6894 | 12.6291 |  | 13.9484 | 537.4432 | 288.3061 | -8220101176.7143 | 3.2008e+12 | 10278085710.3796 | 3.2267e+12 | -3972135638.6381 | 2.178e+12 | -0.0004928 | 1.4535 | 0.0080891 | 1.4739 | 3.0364e+12 | 3.4322e+12 | 2.0986e+12 | 1.4437 | 1.6357 | 13.9554 | 38.5305 | 20.6571 | 537.4395 | 288.1339 | 15.0483 | 9.2203 | 0.55822
Standard | 2 | 20 | Calibrate | 5068 | 2024-04-16 11:28 | 1.77e-10 | 8.4e-11 | 6.65e-12 | 26.694 | 12.6388 |  | 13.9484 | 537.4432 | 288.3061 | -8212245595.6203 | 3.2008e+12 | 10274497343.714 | 3.2271e+12 | -3971875849.5591 | 2.1781e+12 | -0.00049287 | 1.4535 | 0.0080873 | 1.474 | 3.0366e+12 | 3.4325e+12 | 2.0987e+12 | 1.4437 | 1.6357 | 13.9563 | 38.5371 | 20.6737 | 537.5308 | 288.3648 | 15.0509 | 9.2277 | 0.55825
Standard | 2 | 20 | Calibrate | 5074 | 2024-04-16 11:28 | 1.77e-10 | 8.4e-11 | 6.64e-12 | 26.6854 | 12.642 |  | 13.9484 | 537.4432 | 288.3061 | -8201023336.9146 | 3.2008e+12 | 10269371105.6202 | 3.2276e+12 | -3971504722.3033 | 2.1783e+12 | -0.00049297 | 1.4535 | 0.0080848 | 1.4741 | 3.0368e+12 | 3.433e+12 | 2.0989e+12 | 1.4437 | 1.6358 | 13.9365 | 38.5246 | 20.6798 | 537.3577 | 288.4502 | 15.046 | 9.2304 | 0.55746
Standard | 2 | 30 | Calibrate | 5260 | 2024-04-16 11:33 | 1.55e-10 | 7.22e-11 | 5.65e-12 | 27.3311 | 12.7685 |  | 11.6462 | 457.9012 | 255.2268 | -7880066737.93 | 3.2009e+12 | 10122760696.1391 | 3.2439e+12 | -3960890482.7885 | 2.1833e+12 | -0.00049573 | 1.4535 | 0.0080141 | 1.4776 | 2.9645e+12 | 3.5476e+12 | 2.0645e+12 | 1.4386 | 1.718 | 11.6644 | 39.3198 | 21.9363 | 457.9238 | 255.4731 | 12.8219 | 8.1751 | 0.46657
Standard | 2 | 30 | Calibrate | 5264 | 2024-04-16 11:33 | 1.55e-10 | 7.22e-11 | 5.66e-12 | 27.326 | 12.7662 |  | 11.6462 | 457.9012 | 255.2268 | -7872211156.836 | 3.2009e+12 | 10119172329.4734 | 3.2443e+12 | -3960630693.7094 | 2.1834e+12 | -0.00049579 | 1.4535 | 0.0080124 | 1.4777 | 2.9648e+12 | 3.5479e+12 | 2.0646e+12 | 1.4386 | 1.718 | 11.6858 | 39.3123 | 21.9327 | 457.837 | 255.4313 | 12.8194 | 8.1738 | 0.46743
Standard | 2 | 30 | Calibrate | 5269 | 2024-04-16 11:33 | 1.55e-10 | 7.22e-11 | 5.66e-12 | 27.3271 | 12.7658 |  | 11.6462 | 457.9012 | 255.2268 | -7864355575.7419 | 3.2009e+12 | 10115583962.8078 | 3.2447e+12 | -3960370904.6304 | 2.1836e+12 | -0.00049586 | 1.4535 | 0.0080107 | 1.4777 | 2.965e+12 | 3.5482e+12 | 2.0648e+12 | 1.4386 | 1.7181 | 11.6865 | 39.3138 | 21.9324 | 457.8548 | 255.4285 | 12.8199 | 8.1737 | 0.46746
Sample | 2 | 20 | Openwater_3_T1_1 | 5560 | 2024-04-16 11:41 | 1.75e-10 | 6.96e-11 | 6.53e-12 | 26.7542 | 10.658 |  | 13.9484 | 537.4432 | 288.3061 | -7360476159.8536 | 3.2011e+12 | 9885415872.3985 | 3.2703e+12 | -3943707290.8466 | 2.1914e+12 | -0.00050019 | 1.4535 | 0.0078996 | 1.4832 | 3.0539e+12 | 3.468e+12 | 2.1126e+12 | 1.4435 | 1.6412 | 13.7951 | 38.62 | 17.4917 | 538.6875 | 243.9819 | 15.0833 | 7.8074 | 0.5518
Sample | 2 | 20 | Openwater_3_T1_2 | 5564 | 2024-04-16 11:41 | 1.75e-10 | 6.96e-11 | 6.53e-12 | 26.7499 | 10.6553 |  | 13.9484 | 537.4432 | 288.3061 | -7353742804.6301 | 3.2011e+12 | 9882340129.5423 | 3.2707e+12 | -3943484614.4932 | 2.1915e+12 | -0.00050025 | 1.4535 | 0.0078982 | 1.4833 | 3.0541e+12 | 3.4683e+12 | 2.1127e+12 | 1.4435 | 1.6412 | 13.7958 | 38.6137 | 17.4878 | 538.5997 | 243.9265 | 15.0808 | 7.8056 | 0.55183
Sample | 2 | 20 | Openwater_3_T1_3 | 5565 | 2024-04-16 11:41 | 1.75e-10 | 6.96e-11 | 6.53e-12 | 26.7468 | 10.6539 |  | 13.9484 | 537.4432 | 288.3061 | -7351498352.889 | 3.2011e+12 | 9881314881.9235 | 3.2708e+12 | -3943410389.042 | 2.1916e+12 | -0.00050027 | 1.4535 | 0.0078977 | 1.4833 | 3.0541e+12 | 3.4684e+12 | 2.1127e+12 | 1.4435 | 1.6412 | 13.796 | 38.6092 | 17.4856 | 538.5365 | 243.8959 | 15.079 | 7.8047 | 0.55184
Sample | 2 | 20 | Openwater_4_T1_1 | 5709 | 2024-04-16 11:44 | 1.77e-10 | 6.1e-11 | 6.61e-12 | 26.7237 | 9.2394 |  | 13.9484 | 537.4432 | 288.3061 | -7102364209.6212 | 3.2012e+12 | 9767512396.2423 | 3.2834e+12 | -3935171363.964 | 2.1955e+12 | -0.00050241 | 1.4535 | 0.0078428 | 1.486 | 3.0592e+12 | 3.4788e+12 | 2.1168e+12 | 1.4435 | 1.6428 | 13.9919 | 38.5747 | 15.1789 | 538.0554 | 211.7213 | 15.0656 | 6.7751 | 0.55967
Sample | 2 | 20 | Openwater_4_T1_2 | 5723 | 2024-04-16 11:45 | 1.77e-10 | 6.1e-11 | 6.61e-12 | 26.7169 | 9.2347 |  | 13.9484 | 537.4432 | 288.3061 | -7077675240.4685 | 3.2013e+12 | 9756234672.4361 | 3.2847e+12 | -3934354884.0014 | 2.1959e+12 | -0.00050262 | 1.4535 | 0.0078373 | 1.4862 | 3.0597e+12 | 3.4798e+12 | 2.1172e+12 | 1.4435 | 1.643 | 13.9945 | 38.5647 | 15.1725 | 537.9162 | 211.6329 | 15.0617 | 6.7723 | 0.55978
Sample | 2 | 20 | Openwater_4_T1_3 | 5727 | 2024-04-16 11:45 | 1.77e-10 | 6.1e-11 | 6.61e-12 | 26.7257 | 9.2342 |  | 13.9484 | 537.4432 | 288.3061 | -7070941885.2451 | 3.2013e+12 | 9753158929.5798 | 3.285e+12 | -3934132207.6479 | 2.196e+12 | -0.00050268 | 1.4535 | 0.0078358 | 1.4863 | 3.0598e+12 | 3.4801e+12 | 2.1173e+12 | 1.4435 | 1.643 | 13.9953 | 38.5774 | 15.1722 | 538.0933 | 211.6276 | 15.0666 | 6.7721 | 0.55981
Sample | 2 | 20 | SAVa_IN_T1_1 | 5876 | 2024-04-16 11:49 | 1.91e-10 | 6.17e-11 | 6.85e-12 | 27.8179 | 8.9986 |  | 13.9484 | 537.4432 | 288.3061 | -6812829935.0127 | 3.2014e+12 | 9635255453.4236 | 3.2982e+12 | -3925596280.7654 | 2.2e+12 | -0.0005049 | 1.4535 | 0.007779 | 1.4891 | 3.0651e+12 | 3.4909e+12 | 2.1215e+12 | 1.4434 | 1.6447 | 14.5322 | 40.1526 | 14.7999 | 560.0657 | 206.4344 | 15.6818 | 6.6059 | 0.58129
Sample | 2 | 20 | SAVa_IN_T1_2 | 5885 | 2024-04-16 11:49 | 1.91e-10 | 6.17e-11 | 6.86e-12 | 27.812 | 8.9997 |  | 13.9484 | 537.4432 | 288.3061 | -6797118772.8247 | 3.2014e+12 | 9628078720.0924 | 3.299e+12 | -3925076702.6073 | 2.2002e+12 | -0.00050503 | 1.4535 | 0.0077755 | 1.4893 | 3.0654e+12 | 3.4915e+12 | 2.1217e+12 | 1.4434 | 1.6448 | 14.5552 | 40.144 | 14.8026 | 559.9452 | 206.4733 | 15.6785 | 6.6071 | 0.58221
Sample | 2 | 20 | SAVa_IN_T1_3 | 5895 | 2024-04-16 11:49 | 1.9e-10 | 6.16e-11 | 6.85e-12 | 27.8064 | 8.9956 |  | 13.9484 | 537.4432 | 288.3061 | -6780285384.7661 | 3.2014e+12 | 9620389362.9518 | 3.2998e+12 | -3924520011.7236 | 2.2005e+12 | -0.00050518 | 1.4535 | 0.0077718 | 1.4895 | 3.0658e+12 | 3.4922e+12 | 2.122e+12 | 1.4434 | 1.6449 | 14.5358 | 40.1359 | 14.7969 | 559.8327 | 206.3936 | 15.6753 | 6.6046 | 0.58143
Standard | 3 | 20 | Calibrate | 6046 | 2024-04-16 11:53 | 1.75e-10 | 8.23e-11 | 6.56e-12 | 26.6979 | 12.5471 |  | 13.9484 | 537.4432 | 288.3061 | -6518806756.922 | 3.2015e+12 | 9500948015.3674 | 3.3131e+12 | -3915872746.6644 | 2.2046e+12 | -0.00050743 | 1.4535 | 0.0077142 | 1.4923 | 3.0711e+12 | 3.5031e+12 | 2.1263e+12 | 1.4434 | 1.6466 | 13.9484 | 38.5346 | 20.6598 | 537.4964 | 288.1714 | 15.0499 | 9.2215 | 0.55794
Standard | 3 | 20 | Calibrate | 6049 | 2024-04-16 11:53 | 1.75e-10 | 8.23e-11 | 6.56e-12 | 26.6943 | 12.5531 |  | 13.9484 | 537.4432 | 288.3061 | -6513195627.5691 | 3.2015e+12 | 9498384896.3206 | 3.3134e+12 | -3915687183.0365 | 2.2047e+12 | -0.00050747 | 1.4535 | 0.0077129 | 1.4924 | 3.0712e+12 | 3.5033e+12 | 2.1264e+12 | 1.4434 | 1.6466 | 13.949 | 38.5294 | 20.67 | 537.4246 | 288.3137 | 15.0479 | 9.226 | 0.55796
Standard | 3 | 20 | Calibrate | 6052 | 2024-04-16 11:53 | 1.75e-10 | 8.23e-11 | 6.56e-12 | 26.6935 | 12.5588 |  | 13.9484 | 537.4432 | 288.3061 | -6508706724.0868 | 3.2015e+12 | 9496334401.0831 | 3.3136e+12 | -3915538732.1342 | 2.2048e+12 | -0.00050751 | 1.4535 | 0.007712 | 1.4924 | 3.0713e+12 | 3.5035e+12 | 2.1264e+12 | 1.4434 | 1.6466 | 13.9495 | 38.5282 | 20.6798 | 537.4077 | 288.451 | 15.0474 | 9.2304 | 0.55798
Standard | 3 | 30 | Calibrate | 6200 | 2024-04-16 11:57 | 1.53e-10 | 7.1e-11 | 5.58e-12 | 27.3386 | 12.7126 |  | 11.6462 | 457.9012 | 255.2268 | -6251716999.725 | 3.2016e+12 | 9378943548.7362 | 3.3267e+12 | -3907039917.9772 | 2.2088e+12 | -0.00050972 | 1.4535 | 0.0076553 | 1.4952 | 3.014e+12 | 3.608e+12 | 2.0916e+12 | 1.4382 | 1.7248 | 11.6709 | 39.3187 | 21.9271 | 457.9119 | 255.3666 | 12.8215 | 8.1717 | 0.46684
Standard | 3 | 30 | Calibrate | 6207 | 2024-04-16 11:57 | 1.52e-10 | 7.09e-11 | 5.58e-12 | 27.3399 | 12.716 |  | 11.6462 | 457.9012 | 255.2268 | -6240494741.0192 | 3.2016e+12 | 9373817310.6425 | 3.3272e+12 | -3906668790.7214 | 2.209e+12 | -0.00050982 | 1.4535 | 0.0076529 | 1.4953 | 3.0144e+12 | 3.6084e+12 | 2.0918e+12 | 1.4382 | 1.7249 | 11.672 | 39.3205 | 21.9337 | 457.9321 | 255.4432 | 12.8221 | 8.1742 | 0.46688
Standard | 3 | 30 | Calibrate | 6213 | 2024-04-16 11:57 | 1.52e-10 | 7.09e-11 | 5.58e-12 | 27.3314 | 12.713 |  | 11.6462 | 457.9012 | 255.2268 | -6229272482.3135 | 3.2016e+12 | 9368691072.5487 | 3.3278e+12 | -3906297663.4657 | 2.2091e+12 | -0.00050991 | 1.4535 | 0.0076504 | 1.4954 | 3.0147e+12 | 3.6089e+12 | 2.0919e+12 | 1.4382 | 1.7249 | 11.673 | 39.3082 | 21.9292 | 457.7893 | 255.3904 | 12.8181 | 8.1725 | 0.46692

## Solubility concentrations
O2.conc_uMol.kg | N2.conc_uMol.kg | Ar.conc_uMol.kg
288.3061 | 537.4432 | 13.9484
255.2268 | 457.9012 | 11.6462

## Calibration factors
calfactor_28 | calfactor_32 | calfactor_40 | calfactor_N2Ar | calfactor_O2Ar
2.9858e+12 | 3.3446e+12 | 2.0634e+12 | 1.4479 | 1.6211
2.9353e+12 | 3.4963e+12 | 2.0408e+12 | 1.4395 | 1.7132
3.0364e+12 | 3.4322e+12 | 2.0986e+12 | 1.4437 | 1.6357
2.9542e+12 | 3.535e+12 | 2058836225672 | 1.4387 | 1.7166
3.0711e+12 | 3.5031e+12 | 2.1263e+12 | 1.4434 | 1.6466
3.0059e+12 | 3.5981e+12 | 2.0871e+12 | 1.4383 | 1.7237

## Drift corrected factors
calslope_28 | calintercept_28 | calslope_32 | calintercept_32 | calslope_40 | calintercept_40 | calslope_N2Ar | calintercept_N2Ar | calslope_O2Ar | calintercept_O2Ar | DRIFT.calslope_28 | DRIFT.calintercept_28 | DRIFT.calslope_32 | DRIFT.calintercept_32 | DRIFT.calslope_40 | DRIFT.calintercept_40 | DRIFT.calslope_N2Ar | DRIFT.calintercept_N2Ar | DRIFT.calslope_O2Ar | DRIFT.calintercept_O2Ar
-5053149217.1761 | 3.0869e+12 | 15163832586.8587 | 3.0413e+12 | -2257730714.3678 | 2.1085e+12 | -0.00084326 | 1.4648 | 0.0092051 | 1.437 | -207134480926.648 | 7.4526e+12 | -319552255963.505 | 1.212e+13 | -112130647582.855 | 4.5438e+12 | 0.022922 | -0.73738 | -0.072994 | 2.4126
-8220101176.7143 | 3.2008e+12 | 10278085710.3796 | 3.2267e+12 | -3972135638.6381 | 2.178e+12 | -0.0004928 | 1.4535 | 0.0080891 | 1.4739 | 96960315217.7192 | 38518372887.0743 | -44290697129.9812 | 4.9263e+12 | 3206539489.7964 | 1.516e+12 | -0.00083333 | -0.00069585 | -0.021365 | 1.0487
-6518806756.922 | 3.2015e+12 | 9500948015.3674 | 3.3131e+12 | -3915872746.6644 | 2.2046e+12 | -0.00050743 | 1.4535 | 0.0077142 | 1.4923 | 96960315217.7192 | 38518372887.0743 | -44290697129.9812 | 4.9263e+12 | 3206539489.7964 | 1.516e+12 | -0.00083333 | -0.00069585 | -0.021365 | 1.0487