## Results summary
CollectionTemp | Label | Notes | arSat.conc_uMol.kg | n2Sat.conc_uMol.kg | o2Sat.conc_uMol.kg | Ar_uMolL | N2Ar | O2Ar | N2_uMolL | O2_uMolL | N2_mgL | O2_mgL | Ar_mgL
20 | SAV_5_T1_1 |  | 13.9484 | 537.4432 | 288.3061 | 13.8438 | 38.3521 | 15.7069 | 534.9511 | 219.0863 | 14.9786 | 7.0108 | 0.55375
20 | SAV_5_T1_2 |  | 13.9484 | 537.4432 | 288.3061 | 13.846 | 38.3507 | 15.6872 | 534.931 | 218.8114 | 14.9781 | 7.002 | 0.55384
20 | SAV_5_T1_3 |  | 13.9484 | 537.4432 | 288.3061 | 13.8472 | 38.3592 | 15.6788 | 535.0506 | 218.6945 | 14.9814 | 6.9982 | 0.55389
20 | SAV_6_T1_1 |  | 13.9484 | 537.4432 | 288.3061 | 13.8552 | 38.6095 | 17.6187 | 538.5412 | 245.7535 | 15.0792 | 7.8641 | 0.55421
20 | SAV_6_T1_2 |  | 13.9484 | 537.4432 | 288.3061 | 13.8777 | 38.6069 | 17.6253 | 538.5046 | 245.8452 | 15.0781 | 7.867 | 0.55511
20 | SAV_6_T1_3 |  | 13.9484 | 537.4432 | 288.3061 | 13.8779 | 38.6017 | 17.6248 | 538.4331 | 245.8374 | 15.0761 | 7.8668 | 0.55511
20 | SAV_7_T1_1 |  | 13.9484 | 537.4432 | 288.3061 | 13.8915 | 38.4408 | 14.4904 | 536.1878 | 202.1187 | 15.0133 | 6.4678 | 0.55566
20 | SAV_7_T1_2 |  | 13.9484 | 537.4432 | 288.3061 | 13.893 | 38.4357 | 14.4793 | 536.1166 | 201.9639 | 15.0113 | 6.4628 | 0.55572
20 | SAV_7_T1_3 |  | 13.9484 | 537.4432 | 288.3061 | 13.8941 | 38.444 | 14.4714 | 536.2329 | 201.8529 | 15.0145 | 6.4593 | 0.55577

## Full results
Type | Group | CollectionTemp | Label | Index | Time | X28 | X32 | X40 | N2.Ar | O2.Ar | Notes | arSat.conc_uMol.kg | n2Sat.conc_uMol.kg | o2Sat.conc_uMol.kg | INTERPOLATED.calslope_28 | INTERPOLATED.calintercept_28 | INTERPOLATED.calslope_32 | INTERPOLATED.calintercept_32 | INTERPOLATED.calslope_40 | INTERPOLATED.calintercept_40 | INTERPOLATED.calslope_N2Ar | INTERPOLATED.calintercept_N2Ar | INTERPOLATED.calslope_O2Ar | INTERPOLATED.calintercept_O2Ar | INTERPOLATED.calfactor_28 | INTERPOLATED.calfactor_32 | INTERPOLATED.calfactor_40 | INTERPOLATED.calfactor_N2Ar | INTERPOLATED.calfactor_O2Ar | Ar_uMolL | N2Ar | O2Ar | N2_uMolL | O2_uMolL | N2_mgL | O2_mgL | Ar_mgL
Standard | 1 | 20 | Calibrate | 6046 | 2024-04-16 11:53 | 1.75e-10 | 8.23e-11 | 6.56e-12 | 26.6979 | 12.5471 |  | 13.9484 | 537.4432 | 288.3061 | -6518806756.922 | 3.2015e+12 | 9500948015.3674 | 3.3131e+12 | -3915872746.6644 | 2.2046e+12 | -0.00050743 | 1.4535 | 0.0077142 | 1.4923 | 3.0711e+12 | 3.5031e+12 | 2.1263e+12 | 1.4434 | 1.6466 | 13.9484 | 38.5346 | 20.6598 | 537.4964 | 288.1714 | 15.0499 | 9.2215 | 0.55794
Standard | 1 | 20 | Calibrate | 6049 | 2024-04-16 11:53 | 1.75e-10 | 8.23e-11 | 6.56e-12 | 26.6943 | 12.5531 |  | 13.9484 | 537.4432 | 288.3061 | -6524529443.4703 | 3.2018e+12 | 9501383488.4878 | 3.3132e+12 | -3915771452.5623 | 2.2047e+12 | -0.00050911 | 1.4536 | 0.007714 | 1.4923 | 3.0713e+12 | 3.5033e+12 | 2.1264e+12 | 1.4434 | 1.6466 | 13.9491 | 38.5299 | 20.6696 | 537.4303 | 288.3074 | 15.048 | 9.2258 | 0.55796
Standard | 1 | 20 | Calibrate | 6052 | 2024-04-16 11:53 | 1.75e-10 | 8.23e-11 | 6.56e-12 | 26.6935 | 12.5588 |  | 13.9484 | 537.4432 | 288.3061 | -6529107592.7089 | 3.202e+12 | 9501731866.984 | 3.3134e+12 | -3915690417.2807 | 2.2048e+12 | -0.00051047 | 1.4536 | 0.0077139 | 1.4923 | 3.0714e+12 | 3.5034e+12 | 2.1265e+12 | 1.4434 | 1.6466 | 13.9496 | 38.529 | 20.679 | 537.418 | 288.4398 | 15.0477 | 9.2301 | 0.55798
Standard | 1 | 30 | Calibrate | 6200 | 2024-04-16 11:57 | 1.53e-10 | 7.1e-11 | 5.58e-12 | 27.3386 | 12.7126 |  | 11.6462 | 457.9012 | 255.2268 | -6791206636.6212 | 3.2145e+12 | 9521676535.8952 | 3.3203e+12 | -3911051147.4069 | 2.2093e+12 | -0.00058783 | 1.4558 | 0.0077068 | 1.4925 | 3.0107e+12 | 3.6059e+12 | 2.092e+12 | 1.4382 | 1.7237 | 11.6731 | 39.3174 | 21.9122 | 457.896 | 255.1924 | 12.8211 | 8.1662 | 0.46692
Standard | 1 | 30 | Calibrate | 6207 | 2024-04-16 11:57 | 1.52e-10 | 7.09e-11 | 5.58e-12 | 27.3399 | 12.716 |  | 11.6462 | 457.9012 | 255.2268 | -6802652009.7178 | 3.215e+12 | 9522547482.1359 | 3.3206e+12 | -3910848559.2028 | 2.2095e+12 | -0.00059121 | 1.4559 | 0.0077065 | 1.4925 | 3.011e+12 | 3.6062e+12 | 2.0922e+12 | 1.4382 | 1.7237 | 11.6742 | 39.319 | 21.9181 | 457.9155 | 255.2618 | 12.8216 | 8.1684 | 0.46697
Standard | 1 | 30 | Calibrate | 6213 | 2024-04-16 11:57 | 1.52e-10 | 7.09e-11 | 5.58e-12 | 27.3314 | 12.713 |  | 11.6462 | 457.9012 | 255.2268 | -6814097382.8144 | 3.2156e+12 | 9523418428.3766 | 3.3209e+12 | -3910645970.9987 | 2.2097e+12 | -0.00059459 | 1.456 | 0.0077062 | 1.4925 | 3.0112e+12 | 3.6066e+12 | 2.0924e+12 | 1.4382 | 1.7237 | 11.6754 | 39.3067 | 21.913 | 457.772 | 255.2016 | 12.8176 | 8.1665 | 0.46701
Sample | 1 | 20 | SAV_5_T1_1 | 6372 | 2024-04-16 12:01 | 1.72e-10 | 6.18e-11 | 6.48e-12 | 26.5449 | 9.5389 |  | 13.9484 | 537.4432 | 288.3061 | -7094509023.6812 | 3.229e+12 | 9544756611.2728 | 3.3282e+12 | -3905682559.9984 | 2.2145e+12 | -0.00067736 | 1.4583 | 0.0076987 | 1.4926 | 3.0871e+12 | 3.5191e+12 | 2.1364e+12 | 1.4448 | 1.6466 | 13.8438 | 38.3521 | 15.7069 | 534.9511 | 219.0863 | 14.9786 | 7.0108 | 0.55375
Sample | 1 | 20 | SAV_5_T1_2 | 6383 | 2024-04-16 12:02 | 1.72e-10 | 6.17e-11 | 6.48e-12 | 26.543 | 9.5269 |  | 13.9484 | 537.4432 | 288.3061 | -7113966157.9454 | 3.2299e+12 | 9546237219.8819 | 3.3288e+12 | -3905338160.0514 | 2.2148e+12 | -0.0006831 | 1.4585 | 0.0076981 | 1.4927 | 3.0876e+12 | 3.5197e+12 | 2.1367e+12 | 1.4449 | 1.6466 | 13.846 | 38.3507 | 15.6872 | 534.931 | 218.8114 | 14.9781 | 7.002 | 0.55384
Sample | 1 | 20 | SAV_5_T1_3 | 6389 | 2024-04-16 12:02 | 1.72e-10 | 6.17e-11 | 6.48e-12 | 26.5484 | 9.5218 |  | 13.9484 | 537.4432 | 288.3061 | -7124266993.7324 | 3.2304e+12 | 9547021071.4985 | 3.329e+12 | -3905155830.6677 | 2.215e+12 | -0.00068614 | 1.4586 | 0.0076979 | 1.4927 | 3.0879e+12 | 3.52e+12 | 2.1369e+12 | 1.4449 | 1.6466 | 13.8472 | 38.3592 | 15.6788 | 535.0506 | 218.6945 | 14.9814 | 6.9982 | 0.55389
Sample | 1 | 20 | SAV_6_T1_1 | 6535 | 2024-04-16 12:06 | 1.73e-10 | 6.93e-11 | 6.47e-12 | 26.7096 | 10.6998 |  | 13.9484 | 537.4432 | 288.3061 | -7382932425.7156 | 3.2427e+12 | 9566704456.5375 | 3.3358e+12 | -3900577337.2551 | 2.2195e+12 | -0.00076249 | 1.4608 | 0.0076909 | 1.4928 | 3.0951e+12 | 3.5272e+12 | 2.1414e+12 | 1.4455 | 1.6466 | 13.8552 | 38.6095 | 17.6187 | 538.5412 | 245.7535 | 15.0792 | 7.8641 | 0.55421
Sample | 1 | 20 | SAV_6_T1_2 | 6541 | 2024-04-16 12:06 | 1.73e-10 | 6.93e-11 | 6.48e-12 | 26.7074 | 10.7038 |  | 13.9484 | 537.4432 | 288.3061 | -7393233261.5026 | 3.2432e+12 | 9567488308.1541 | 3.3361e+12 | -3900395007.8715 | 2.2196e+12 | -0.00076553 | 1.4609 | 0.0076906 | 1.4928 | 3.0954e+12 | 3.5275e+12 | 2.1416e+12 | 1.4456 | 1.6466 | 13.8777 | 38.6069 | 17.6253 | 538.5046 | 245.8452 | 15.0781 | 7.867 | 0.55511
Sample | 1 | 20 | SAV_6_T1_3 | 6542 | 2024-04-16 12:06 | 1.73e-10 | 6.94e-11 | 6.48e-12 | 26.7038 | 10.7035 |  | 13.9484 | 537.4432 | 288.3061 | -7394377798.8122 | 3.2433e+12 | 9567575402.7782 | 3.3361e+12 | -3900374749.0511 | 2.2197e+12 | -0.00076587 | 1.4609 | 0.0076906 | 1.4928 | 3.0954e+12 | 3.5275e+12 | 2.1416e+12 | 1.4456 | 1.6466 | 13.8779 | 38.6017 | 17.6248 | 538.4331 | 245.8374 | 15.0761 | 7.8668 | 0.55511
Sample | 1 | 20 | SAV_7_T1_1 | 6717 | 2024-04-16 12:10 | 1.72e-10 | 5.69e-11 | 6.47e-12 | 26.5782 | 8.7999 |  | 13.9484 | 537.4432 | 288.3061 | -7703402872.4206 | 3.258e+12 | 9591090951.2761 | 3.3443e+12 | -3894904867.5405 | 2.225e+12 | -0.00085708 | 1.4635 | 0.0076822 | 1.493 | 3.104e+12 | 3.5361e+12 | 2.1471e+12 | 1.4463 | 1.6467 | 13.8915 | 38.4408 | 14.4904 | 536.1878 | 202.1187 | 15.0133 | 6.4678 | 0.55566
Sample | 1 | 20 | SAV_7_T1_2 | 6724 | 2024-04-16 12:10 | 1.72e-10 | 5.69e-11 | 6.47e-12 | 26.574 | 8.7931 |  | 13.9484 | 537.4432 | 288.3061 | -7715992782.8268 | 3.2586e+12 | 9592048992.1408 | 3.3446e+12 | -3894682020.516 | 2.2252e+12 | -0.0008608 | 1.4636 | 0.0076819 | 1.493 | 3.1043e+12 | 3.5364e+12 | 2.1473e+12 | 1.4464 | 1.6467 | 13.893 | 38.4357 | 14.4793 | 536.1166 | 201.9639 | 15.0113 | 6.4628 | 0.55572
Sample | 1 | 20 | SAV_7_T1_3 | 6730 | 2024-04-16 12:11 | 1.72e-10 | 5.69e-11 | 6.47e-12 | 26.5793 | 8.7883 |  | 13.9484 | 537.4432 | 288.3061 | -7726293618.6138 | 3.2591e+12 | 9592832843.7574 | 3.3449e+12 | -3894499691.1323 | 2.2254e+12 | -0.00086384 | 1.4637 | 0.0076816 | 1.493 | 3.1046e+12 | 3.5367e+12 | 2147471542445 | 1.4464 | 1.6467 | 13.8941 | 38.444 | 14.4714 | 536.2329 | 201.8529 | 15.0145 | 6.4593 | 0.55577
Standard | 2 | 20 | Calibrate | 6893 | 2024-04-16 12:15 | 1.73e-10 | 8.13e-11 | 6.48e-12 | 26.628 | 12.5436 |  | 13.9484 | 537.4432 | 288.3061 | -8014717020.6482 | 3.2729e+12 | 9614780689.0221 | 3.3525e+12 | -3889394468.3891 | 2.2303e+12 | -0.00094897 | 1.4661 | 0.0076738 | 1.4932 | 3.1126e+12 | 3.5447e+12 | 2.1525e+12 | 1.4471 | 1.6467 | 13.9484 | 38.5337 | 20.6554 | 537.4844 | 288.1098 | 15.0496 | 9.2195 | 0.55794
Standard | 2 | 20 | Calibrate | 6895 | 2024-04-16 12:15 | 1.73e-10 | 8.13e-11 | 6.48e-12 | 26.6267 | 12.5461 |  | 13.9484 | 537.4432 | 288.3061 | -8018150632.5772 | 3.2731e+12 | 9615041972.8943 | 3.3525e+12 | -3889333691.9279 | 2.2304e+12 | -0.00094999 | 1.4661 | 0.0076737 | 1.4932 | 3.1127e+12 | 3.5448e+12 | 2.1526e+12 | 1.4471 | 1.6467 | 13.9488 | 38.5321 | 20.6596 | 537.4611 | 288.1684 | 15.0489 | 9.2214 | 0.55795
Standard | 2 | 20 | Calibrate | 6906 | 2024-04-16 12:15 | 1.72e-10 | 8.14e-11 | 6.48e-12 | 26.6232 | 12.5667 |  | 13.9484 | 537.4432 | 288.3061 | -8037607766.8414 | 3.274e+12 | 9616522581.5034 | 3.3531e+12 | -3888989291.9809 | 2.2307e+12 | -0.00095573 | 1.4663 | 0.0076732 | 1.4932 | 3.1132e+12 | 3.5454e+12 | 2.1529e+12 | 1.4472 | 1.6467 | 13.951 | 38.5283 | 20.6934 | 537.4088 | 288.6406 | 15.0474 | 9.2365 | 0.55804
Standard | 2 | 30 | Calibrate | 7060 | 2024-04-16 12:19 | 1.51e-10 | 7.01e-11 | 5.51e-12 | 27.3515 | 12.7162 |  | 11.6462 | 457.9012 | 255.2268 | -8308863109.231 | 3.2869e+12 | 9637164007.4072 | 3.3602e+12 | -3884187951.5438 | 2.2354e+12 | -0.0010358 | 1.4686 | 0.0076659 | 1.4934 | 3.0377e+12 | 3.6493e+12 | 2.1189e+12 | 1.4375 | 1.7234 | 11.6749 | 39.3175 | 21.9147 | 457.8972 | 255.2214 | 12.8211 | 8.1671 | 0.467
Standard | 2 | 30 | Calibrate | 7070 | 2024-04-16 12:19 | 1.51e-10 | 7.01e-11 | 5.51e-12 | 27.3515 | 12.7168 |  | 11.6462 | 457.9012 | 255.2268 | -8327175706.1855 | 3.2878e+12 | 9638557521.3922 | 3.3607e+12 | -3883863810.4173 | 2.2357e+12 | -0.0010412 | 1.4687 | 0.0076654 | 1.4934 | 3.038e+12 | 3.6498e+12 | 2.1192e+12 | 1.4375 | 1.7234 | 11.6767 | 39.3174 | 21.9156 | 457.896 | 255.2329 | 12.8211 | 8.1675 | 0.46707
Standard | 2 | 30 | Calibrate | 7074 | 2024-04-16 12:19 | 1.51e-10 | 7.01e-11 | 5.51e-12 | 27.3447 | 12.7151 |  | 11.6462 | 457.9012 | 255.2268 | -8334042930.0435 | 3.2881e+12 | 9639080089.1366 | 3.3609e+12 | -3883742257.4948 | 2.2358e+12 | -0.0010432 | 1.4688 | 0.0076652 | 1.4934 | 3.0381e+12 | 3.65e+12 | 2.1193e+12 | 1.4375 | 1.7234 | 11.6773 | 39.3074 | 21.9128 | 457.7798 | 255.1994 | 12.8178 | 8.1664 | 0.46709

## Solubility concentrations
O2.conc_uMol.kg | N2.conc_uMol.kg | Ar.conc_uMol.kg
288.3061 | 537.4432 | 13.9484
255.2268 | 457.9012 | 11.6462

## Calibration factors
calfactor_28 | calfactor_32 | calfactor_40 | calfactor_N2Ar | calfactor_O2Ar
3.0711e+12 | 3.5031e+12 | 2.1263e+12 | 1.4434 | 1.6466
3.0059e+12 | 3.5981e+12 | 2.0871e+12 | 1.4383 | 1.7237
3.1126e+12 | 3.5447e+12 | 2.1525e+12 | 1.4471 | 1.6467
3.0325e+12 | 3.6409e+12 | 2.1136e+12 | 1.4376 | 1.7234

## Drift corrected factors
calslope_28 | calintercept_28 | calslope_32 | calintercept_32 | calslope_40 | calintercept_40 | calslope_N2Ar | calintercept_N2Ar | calslope_O2Ar | calintercept_O2Ar | DRIFT.calslope_28 | DRIFT.calintercept_28 | DRIFT.calslope_32 | DRIFT.calintercept_32 | DRIFT.calslope_40 | DRIFT.calintercept_40 | DRIFT.calslope_N2Ar | DRIFT.calintercept_N2Ar | DRIFT.calslope_O2Ar | DRIFT.calintercept_O2Ar
-6518806756.922 | 3.2015e+12 | 9500948015.3674 | 3.3131e+12 | -3915872746.6644 | 2.2046e+12 | -0.00050743 | 1.4535 | 0.0077142 | 1.4923 | -98888023554.6661 | 4.7212e+12 | 7524975519.3298 | 2.6018e+12 | 1750362083.3839 | 1.7003e+12 | -0.029189 | 0.83185 | -0.0026665 | 0.060758
-8014717020.6482 | 3.2729e+12 | 9614780689.0221 | 3.3525e+12 | -3889394468.3891 | 2.2303e+12 | -0.00094897 | 1.4661 | 0.0076738 | 1.4932 | -98888023554.6661 | 4.7212e+12 | 7524975519.3298 | 2.6018e+12 | 1750362083.3839 | 1.7003e+12 | -0.029189 | 0.83185 | -0.0026665 | 0.060758