## Results summary
CollectionTemp | Label | Notes | arSat.conc_uMol.kg | n2Sat.conc_uMol.kg | o2Sat.conc_uMol.kg | Ar_uMolL | N2Ar | O2Ar | N2_uMolL | O2_uMolL | N2_mgL | O2_mgL | Ar_mgL
20 | SAV_8_T1_1 |  | 13.9484 | 537.4432 | 288.3061 | 13.8244 | 38.4805 | 15.2234 | 536.7415 | 212.3417 | 15.0288 | 6.7949 | 0.55298
20 | SAV_8_T1_2 |  | 13.9484 | 537.4432 | 288.3061 | 13.8254 | 38.489 | 15.2182 | 536.8605 | 212.2696 | 15.0321 | 6.7926 | 0.55302
20 | SAV_8_T1_3 |  | 13.9484 | 537.4432 | 288.3061 | 13.8266 | 38.4858 | 15.2037 | 536.8154 | 212.0672 | 15.0308 | 6.7862 | 0.55306
20 | SAVb_IN_T1_1 |  | 13.9484 | 537.4432 | 288.3061 | 13.9869 | 38.6023 | 16.3978 | 538.4407 | 228.7239 | 15.0763 | 7.3192 | 0.55948
20 | SAVb_IN_T1_2 |  | 13.9484 | 537.4432 | 288.3061 | 13.9883 | 38.6016 | 16.4018 | 538.4309 | 228.7786 | 15.0761 | 7.3209 | 0.55953
20 | SAVb_IN_T1_3 |  | 13.9484 | 537.4432 | 288.3061 | 13.9678 | 38.6124 | 16.4081 | 538.5824 | 228.8673 | 15.0803 | 7.3238 | 0.55871
20 | SAV_9_T1_1 |  | 13.9484 | 537.4432 | 288.3061 | 13.8625 | 38.6724 | 15.8089 | 539.4193 | 220.5085 | 15.1037 | 7.0563 | 0.5545
20 | SAV_9_T1_2 |  | 13.9484 | 537.4432 | 288.3061 | 13.8645 | 38.6718 | 15.8044 | 539.4097 | 220.4458 | 15.1035 | 7.0543 | 0.55458
20 | SAV_9_T1_3 |  | 13.9484 | 537.4432 | 288.3061 | 13.8659 | 38.6753 | 15.8042 | 539.4596 | 220.444 | 15.1049 | 7.0542 | 0.55464
20 | SAV_10_T1_1 |  | 13.9484 | 537.4432 | 288.3061 | 13.9134 | 38.7611 | 16.4356 | 540.6552 | 229.25 | 15.1383 | 7.336 | 0.55654
20 | SAV_10_T1_2 |  | 13.9484 | 537.4432 | 288.3061 | 13.9146 | 38.7544 | 16.4194 | 540.5617 | 229.0247 | 15.1357 | 7.3288 | 0.55658
20 | SAV_10_T1_3 |  | 13.9484 | 537.4432 | 288.3061 | 13.9153 | 38.7558 | 16.4137 | 540.5819 | 228.9445 | 15.1363 | 7.3262 | 0.55661
20 | SAV_11_T1_1 |  | 13.9484 | 537.4432 | 288.3061 | 13.9104 | 38.7961 | 16.0125 | 541.1446 | 223.3483 | 15.152 | 7.1471 | 0.55642
20 | SAV_11_T1_2 |  | 13.9484 | 537.4432 | 288.3061 | 13.9115 | 38.7971 | 16.0071 | 541.1576 | 223.273 | 15.1524 | 7.1447 | 0.55646
20 | SAV_11_T1_3 |  | 13.9484 | 537.4432 | 288.3061 | 13.9121 | 38.8009 | 16.0038 | 541.211 | 223.2273 | 15.1539 | 7.1433 | 0.55648
20 | SAV_12_T1_1 |  | 13.9484 | 537.4432 | 288.3061 | 14.0206 | 38.7472 | 14.89 | 540.4625 | 207.6913 | 15.1329 | 6.6461 | 0.56083
20 | SAV_12_T1_2 |  | 13.9484 | 537.4432 | 288.3061 | 14.0214 | 38.7599 | 14.8893 | 540.6397 | 207.682 | 15.1379 | 6.6458 | 0.56085
20 | SAV_12_T1_3 |  | 13.9484 | 537.4432 | 288.3061 | 14.0225 | 38.7534 | 14.8792 | 540.5488 | 207.5411 | 15.1354 | 6.6413 | 0.5609

## Full results
Type | Group | CollectionTemp | Label | Index | Time | X28 | X32 | X40 | N2.Ar | O2.Ar | Notes | arSat.conc_uMol.kg | n2Sat.conc_uMol.kg | o2Sat.conc_uMol.kg | INTERPOLATED.calslope_28 | INTERPOLATED.calintercept_28 | INTERPOLATED.calslope_32 | INTERPOLATED.calintercept_32 | INTERPOLATED.calslope_40 | INTERPOLATED.calintercept_40 | INTERPOLATED.calslope_N2Ar | INTERPOLATED.calintercept_N2Ar | INTERPOLATED.calslope_O2Ar | INTERPOLATED.calintercept_O2Ar | INTERPOLATED.calfactor_28 | INTERPOLATED.calfactor_32 | INTERPOLATED.calfactor_40 | INTERPOLATED.calfactor_N2Ar | INTERPOLATED.calfactor_O2Ar | Ar_uMolL | N2Ar | O2Ar | N2_uMolL | O2_uMolL | N2_mgL | O2_mgL | Ar_mgL
Standard | 1 | 20 | Calibrate | 6893 | 2024-04-16 12:15 | 1.73e-10 | 8.13e-11 | 6.48e-12 | 26.628 | 12.5436 |  | 13.9484 | 537.4432 | 288.3061 | -8014717020.6482 | 3.2729e+12 | 9614780689.0221 | 3.3525e+12 | -3889394468.3891 | 2.2303e+12 | -0.00094897 | 1.4661 | 0.0076738 | 1.4932 | 3.1126e+12 | 3.5447e+12 | 2.1525e+12 | 1.4471 | 1.6467 | 13.9484 | 38.5337 | 20.6554 | 537.4844 | 288.1098 | 15.0496 | 9.2195 | 0.55794
Standard | 1 | 20 | Calibrate | 6895 | 2024-04-16 12:15 | 1.73e-10 | 8.13e-11 | 6.48e-12 | 26.6267 | 12.5461 |  | 13.9484 | 537.4432 | 288.3061 | -8007368916.8908 | 3.2728e+12 | 9620926806.243 | 3.3524e+12 | -3889058016.9395 | 2.2304e+12 | -0.00094804 | 1.4661 | 0.0076756 | 1.4932 | 3.1127e+12 | 3.5448e+12 | 2152593659651 | 1.4471 | 1.6467 | 13.9488 | 38.5318 | 20.6594 | 537.4573 | 288.1653 | 15.0488 | 9.2213 | 0.55795
Standard | 1 | 20 | Calibrate | 6906 | 2024-04-16 12:15 | 1.72e-10 | 8.14e-11 | 6.48e-12 | 26.6232 | 12.5667 |  | 13.9484 | 537.4432 | 288.3061 | -7965729662.2656 | 3.2724e+12 | 9655754803.828 | 3.352e+12 | -3887151458.7254 | 2.2307e+12 | -0.00094278 | 1.466 | 0.0076856 | 1.4929 | 3.1131e+12 | 3.5451e+12 | 2.1529e+12 | 1.4471 | 1.6466 | 13.951 | 38.5265 | 20.692 | 537.3833 | 288.62 | 15.0467 | 9.2358 | 0.55804
Standard | 1 | 30 | Calibrate | 7060 | 2024-04-16 12:19 | 1.51e-10 | 7.01e-11 | 5.51e-12 | 27.3515 | 12.7162 |  | 11.6462 | 457.9012 | 255.2268 | -7385229465.4313 | 3.2664e+12 | 10141298064.2774 | 3.347e+12 | -3860571794.2111 | 2.235e+12 | -0.00086934 | 1.4644 | 0.0078249 | 1.4887 | 3.0449e+12 | 3.6512e+12 | 2.1191e+12 | 1.4383 | 1.7234 | 11.6765 | 39.3389 | 21.9157 | 458.1466 | 255.2332 | 12.8281 | 8.1675 | 0.46706
Standard | 1 | 30 | Calibrate | 7070 | 2024-04-16 12:19 | 1.51e-10 | 7.01e-11 | 5.51e-12 | 27.3515 | 12.7168 |  | 11.6462 | 457.9012 | 255.2268 | -7346039578.7252 | 3.266e+12 | 10174077356.122 | 3.3466e+12 | -3858777386.4802 | 2.2352e+12 | -0.00086439 | 1.4642 | 0.0078343 | 1.4884 | 3.0457e+12 | 3.6518e+12 | 2.1195e+12 | 1.4383 | 1.7235 | 11.6783 | 39.3401 | 21.9167 | 458.1608 | 255.2454 | 12.8285 | 8.1679 | 0.46713
Standard | 1 | 30 | Calibrate | 7074 | 2024-04-16 12:19 | 1.51e-10 | 7.01e-11 | 5.51e-12 | 27.3447 | 12.7151 |  | 11.6462 | 457.9012 | 255.2268 | -7331343371.2104 | 3.2659e+12 | 10186369590.5638 | 3.3465e+12 | -3858104483.5811 | 2.2354e+12 | -0.00086253 | 1.4642 | 0.0078378 | 1.4883 | 3.046e+12 | 3.6521e+12 | 2.1196e+12 | 1.4383 | 1.7235 | 11.679 | 39.3306 | 21.9139 | 458.0505 | 255.2122 | 12.8254 | 8.1668 | 0.46716
Sample | 1 | 20 | SAV_8_T1_1 | 7242 | 2024-04-16 12:24 | 1.7e-10 | 5.92e-11 | 6.39e-12 | 26.5968 | 9.2624 |  | 13.9484 | 537.4432 | 288.3061 | -6696957080.1552 | 3.2594e+12 | 10716984377.2996 | 3.3409e+12 | -3829057508.4367 | 2.24e+12 | -0.00078228 | 1.4625 | 0.00799 | 1.4838 | 3.1254e+12 | 3.5553e+12 | 2.1634e+12 | 1.4468 | 1.6436 | 13.8244 | 38.4805 | 15.2234 | 536.7415 | 212.3417 | 15.0288 | 6.7949 | 0.55298
Sample | 1 | 20 | SAV_8_T1_2 | 7247 | 2024-04-16 12:24 | 1.7e-10 | 5.91e-11 | 6.39e-12 | 26.6028 | 9.2595 |  | 13.9484 | 537.4432 | 288.3061 | -6677362136.8021 | 3.2592e+12 | 10733374023.222 | 3.3408e+12 | -3828160304.5713 | 2.2402e+12 | -0.0007798 | 1.4624 | 0.0079947 | 1.4836 | 3.1256e+12 | 3.5554e+12 | 2.1636e+12 | 1.4468 | 1.6435 | 13.8254 | 38.489 | 15.2182 | 536.8605 | 212.2696 | 15.0321 | 6.7926 | 0.55302
Sample | 1 | 20 | SAV_8_T1_3 | 7253 | 2024-04-16 12:24 | 1.7e-10 | 5.91e-11 | 6.39e-12 | 26.6006 | 9.2509 |  | 13.9484 | 537.4432 | 288.3061 | -6655317825.5299 | 3.259e+12 | 10751812374.8846 | 3.3406e+12 | -3827150950.2226 | 2.2403e+12 | -0.00077701 | 1.4623 | 0.008 | 1.4835 | 3.1259e+12 | 3.5556e+12 | 2.1638e+12 | 1.4468 | 1.6435 | 13.8266 | 38.4858 | 15.2037 | 536.8154 | 212.0672 | 15.0308 | 6.7862 | 0.55306
Sample | 1 | 20 | SAVb_IN_T1_1 | 7404 | 2024-04-16 12:28 | 1.72e-10 | 6.44e-11 | 6.45e-12 | 26.6836 | 9.9857 |  | 13.9484 | 537.4432 | 288.3061 | -6084615100.3722 | 3.2531e+12 | 11229160812.3728 | 3.3356e+12 | -3801019887.641 | 2.2445e+12 | -0.00070482 | 1.4608 | 0.0081369 | 1.4794 | 3.1314e+12 | 3.5602e+12 | 2.1685e+12 | 1.4467 | 1.6421 | 13.9869 | 38.6023 | 16.3978 | 538.4407 | 228.7239 | 15.0763 | 7.3192 | 0.55948
Sample | 1 | 20 | SAVb_IN_T1_2 | 7411 | 2024-04-16 12:28 | 1.72e-10 | 6.44e-11 | 6.45e-12 | 26.6832 | 9.9885 |  | 13.9484 | 537.4432 | 288.3061 | -6057672053.2617 | 3.2528e+12 | 11251696575.5161 | 3.3353e+12 | -3799786232.326 | 2.2447e+12 | -0.00070141 | 1.4607 | 0.0081434 | 1.4792 | 3.1317e+12 | 3.5604e+12 | 2.1687e+12 | 1.4467 | 1.6421 | 13.9883 | 38.6016 | 16.4018 | 538.4309 | 228.7786 | 15.0761 | 7.3209 | 0.55953
Sample | 1 | 20 | SAVb_IN_T1_3 | 7417 | 2024-04-16 12:28 | 1.72e-10 | 6.44e-11 | 6.44e-12 | 26.6908 | 9.9927 |  | 13.9484 | 537.4432 | 288.3061 | -6035627741.9895 | 3.2526e+12 | 11270134927.1787 | 3.3352e+12 | -3798776877.9774 | 2.2449e+12 | -0.00069862 | 1.4606 | 0.0081487 | 1.479 | 3.1319e+12 | 3.5606e+12 | 2.1689e+12 | 1.4467 | 1.642 | 13.9678 | 38.6124 | 16.4081 | 538.5824 | 228.8673 | 15.0803 | 7.3238 | 0.55871
Sample | 1 | 20 | SAV_9_T1_1 | 7541 | 2024-04-16 12:32 | 1.71e-10 | 6.15e-11 | 6.38e-12 | 26.7342 | 9.6343 |  | 13.9484 | 537.4432 | 288.3061 | -5565349101.5162 | 3.2478e+12 | 11663486429.3149 | 3.331e+12 | -3777243985.2063 | 2.2484e+12 | -0.00063913 | 1.4593 | 0.0082615 | 1.4757 | 3.1365e+12 | 3.5643e+12 | 2.1728e+12 | 1.4466 | 1.6409 | 13.8625 | 38.6724 | 15.8089 | 539.4193 | 220.5085 | 15.1037 | 7.0563 | 0.5545
Sample | 1 | 20 | SAV_9_T1_2 | 7551 | 2024-04-16 12:32 | 1.71e-10 | 6.15e-11 | 6.38e-12 | 26.7339 | 9.632 |  | 13.9484 | 537.4432 | 288.3061 | -5528608582.7292 | 3.2474e+12 | 11694217015.4193 | 3.3307e+12 | -3775561727.9585 | 2.2486e+12 | -0.00063448 | 1.4592 | 0.0082704 | 1.4754 | 3.1368e+12 | 3.5646e+12 | 2.1731e+12 | 1.4465 | 1.6408 | 13.8645 | 38.6718 | 15.8044 | 539.4097 | 220.4458 | 15.1035 | 7.0543 | 0.55458
Sample | 1 | 20 | SAV_9_T1_3 | 7558 | 2024-04-16 12:32 | 1.71e-10 | 6.14e-11 | 6.38e-12 | 26.7365 | 9.6323 |  | 13.9484 | 537.4432 | 288.3061 | -5501665535.6187 | 3.2471e+12 | 11716752778.5625 | 3.3305e+12 | -3774328072.6435 | 2.2488e+12 | -0.00063107 | 1.4592 | 0.0082768 | 1.4752 | 3.1371e+12 | 3.5648e+12 | 2.1733e+12 | 1.4465 | 1.6407 | 13.8659 | 38.6753 | 15.8042 | 539.4596 | 220.444 | 15.1049 | 7.0542 | 0.55464
Standard | 2 | 20 | Calibrate | 7717 | 2024-04-16 12:36 | 1.71e-10 | 8.07e-11 | 6.41e-12 | 26.6388 | 12.595 |  | 13.9484 | 537.4432 | 288.3061 | -4901570395.4314 | 3.241e+12 | 12218685684.9342 | 3.3252e+12 | -3746851204.2638 | 2.2532e+12 | -0.00055516 | 1.4575 | 0.0084208 | 1.4709 | 3.1429e+12 | 3.5696e+12 | 2.1783e+12 | 1.4464 | 1.6393 | 13.9629 | 38.5303 | 20.6473 | 537.4364 | 287.9978 | 15.0482 | 9.2159 | 0.55852
Standard | 2 | 20 | Calibrate | 7730 | 2024-04-16 12:36 | 1.71e-10 | 8.08e-11 | 6.4e-12 | 26.6431 | 12.6136 |  | 13.9484 | 537.4432 | 288.3061 | -4893703869.3916 | 3.2414e+12 | 12221321966.6488 | 3.3257e+12 | -3736666181.7841 | 2.2534e+12 | -0.0005511 | 1.4574 | 0.0084153 | 1.471 | 3.1435e+12 | 3.5701e+12 | 2.1787e+12 | 1.4463 | 1.6393 | 13.9436 | 38.5351 | 20.6772 | 537.5041 | 288.4141 | 15.0501 | 9.2293 | 0.55774
Standard | 2 | 20 | Calibrate | 7735 | 2024-04-16 12:36 | 1.71e-10 | 8.08e-11 | 6.4e-12 | 26.6355 | 12.6168 |  | 13.9484 | 537.4432 | 288.3061 | -4890557258.9757 | 3.2415e+12 | 12222376479.3346 | 3.3259e+12 | -3732592172.7922 | 2.2535e+12 | -0.00054948 | 1.4573 | 0.0084131 | 1.471 | 3.1437e+12 | 3.5703e+12 | 2.1788e+12 | 1.4463 | 1.6393 | 13.9446 | 38.5236 | 20.6821 | 537.343 | 288.4829 | 15.0456 | 9.2315 | 0.55778
Standard | 2 | 30 | Calibrate | 7883 | 2024-04-16 12:40 | 1.48e-10 | 6.92e-11 | 5.44e-12 | 27.2847 | 12.7138 |  | 11.6462 | 457.9012 | 255.2268 | -4800878862.1226 | 3.2462e+12 | 12252430090.8805 | 3.3312e+12 | -3616482916.5238 | 2.2555e+12 | -0.00050319 | 1.4558 | 0.0083501 | 1.4716 | 3.1022e+12 | 3.6988e+12 | 2.147e+12 | 1.4407 | 1.7221 | 11.6799 | 39.3092 | 21.8945 | 457.8008 | 254.9872 | 12.8184 | 8.1596 | 0.4672
Standard | 2 | 30 | Calibrate | 7885 | 2024-04-16 12:40 | 1.48e-10 | 6.91e-11 | 5.44e-12 | 27.2897 | 12.7151 |  | 11.6462 | 457.9012 | 255.2268 | -4799698883.2167 | 3.2462e+12 | 12252825533.1377 | 3.3313e+12 | -3614955163.1519 | 2.2556e+12 | -0.00050258 | 1.4558 | 0.0083493 | 1.4716 | 3.1022e+12 | 3.6989e+12 | 2.1471e+12 | 1.4407 | 1.7221 | 11.6803 | 39.3163 | 21.8966 | 457.8831 | 255.011 | 12.8207 | 8.1604 | 0.46721
Standard | 2 | 30 | Calibrate | 7896 | 2024-04-16 12:41 | 1.48e-10 | 6.91e-11 | 5.44e-12 | 27.2895 | 12.7168 |  | 11.6462 | 457.9012 | 255.2268 | -4793012336.0829 | 3.2466e+12 | 12255066372.595 | 3.3317e+12 | -3606297894.0441 | 2.2557e+12 | -0.00049913 | 1.4557 | 0.0083446 | 1.4717 | 3.1028e+12 | 3.6993e+12 | 2.1475e+12 | 1.4407 | 1.722 | 11.6825 | 39.3158 | 21.8983 | 457.8781 | 255.0311 | 12.8206 | 8.161 | 0.4673
Sample | 2 | 20 | SAV_10_T1_1 | 8150 | 2024-04-16 12:47 | 1.7e-10 | 6.38e-11 | 6.35e-12 | 26.8304 | 10.0372 |  | 13.9484 | 537.4432 | 288.3061 | -4638828425.7038 | 3.2546e+12 | 12306737494.2002 | 3.3408e+12 | -3406671453.4423 | 2.2592e+12 | -0.00041954 | 1.4531 | 0.0082363 | 1.4727 | 3.1618e+12 | 3.5869e+12 | 2.1911e+12 | 1.4447 | 1.6375 | 13.9134 | 38.7611 | 16.4356 | 540.6552 | 229.25 | 15.1383 | 7.336 | 0.55654
Sample | 2 | 20 | SAV_10_T1_2 | 8156 | 2024-04-16 12:47 | 1.7e-10 | 6.37e-11 | 6.35e-12 | 26.8263 | 10.0275 |  | 13.9484 | 537.4432 | 288.3061 | -4634895162.684 | 3.2548e+12 | 12308055635.0575 | 3.341e+12 | -3401578942.2025 | 2.2593e+12 | -0.00041751 | 1.453 | 0.0082336 | 1.4728 | 3.1621e+12 | 3.5872e+12 | 2.1913e+12 | 1.4446 | 1.6374 | 13.9146 | 38.7544 | 16.4194 | 540.5617 | 229.0247 | 15.1357 | 7.3288 | 0.55658
Sample | 2 | 20 | SAV_10_T1_3 | 8160 | 2024-04-16 12:47 | 1.7e-10 | 6.37e-11 | 6.35e-12 | 26.8276 | 10.0241 |  | 13.9484 | 537.4432 | 288.3061 | -4632535204.8721 | 3.2549e+12 | 12308846519.5719 | 3.3412e+12 | -3398523435.4586 | 2.2594e+12 | -0.0004163 | 1.453 | 0.0082319 | 1.4728 | 3.1622e+12 | 3.5874e+12 | 2.1914e+12 | 1.4446 | 1.6374 | 13.9153 | 38.7558 | 16.4137 | 540.5819 | 228.9445 | 15.1363 | 7.3262 | 0.55661
Sample | 2 | 20 | SAV_11_T1_1 | 8251 | 2024-04-16 12:50 | 1.7e-10 | 6.2e-11 | 6.34e-12 | 26.8623 | 9.7814 |  | 13.9484 | 537.4432 | 288.3061 | -4577469522.5938 | 3.2577e+12 | 12327300491.5737 | 3.3444e+12 | -3327228278.1008 | 2.2606e+12 | -0.00038787 | 1.452 | 0.0081932 | 1.4732 | 3.1662e+12 | 3.591e+12 | 2.1941e+12 | 1.4443 | 1.637 | 13.9104 | 38.7961 | 16.0125 | 541.1446 | 223.3483 | 15.152 | 7.1471 | 0.55642
Sample | 2 | 20 | SAV_11_T1_2 | 8257 | 2024-04-16 12:50 | 1.7e-10 | 6.2e-11 | 6.34e-12 | 26.8633 | 9.7783 |  | 13.9484 | 537.4432 | 288.3061 | -4573929585.8759 | 3.2579e+12 | 12328486818.3453 | 3.3447e+12 | -3322645017.985 | 2.2607e+12 | -0.00038605 | 1.452 | 0.0081908 | 1.4732 | 3.1664e+12 | 3.5912e+12 | 2.1942e+12 | 1.4442 | 1.637 | 13.9115 | 38.7971 | 16.0071 | 541.1576 | 223.273 | 15.1524 | 7.1447 | 0.55646
Sample | 2 | 20 | SAV_11_T1_3 | 8260 | 2024-04-16 12:50 | 1.7e-10 | 6.2e-11 | 6.34e-12 | 26.8662 | 9.7764 |  | 13.9484 | 537.4432 | 288.3061 | -4571962954.366 | 3.258e+12 | 12329145888.7739 | 3.3448e+12 | -3320098762.365 | 2.2607e+12 | -0.00038503 | 1.4519 | 0.0081894 | 1.4732 | 3.1666e+12 | 3.5914e+12 | 2.1943e+12 | 1.4442 | 1.637 | 13.9121 | 38.8009 | 16.0038 | 541.211 | 223.2273 | 15.1539 | 7.1433 | 0.55648
Sample | 2 | 20 | SAV_12_T1_1 | 8370 | 2024-04-16 12:53 | 1.71e-10 | 5.81e-11 | 6.38e-12 | 26.8373 | 9.0986 |  | 13.9484 | 537.4432 | 288.3061 | -4505097483.0282 | 3.2615e+12 | 12351554283.3476 | 3.3487e+12 | -3233526071.2877 | 2.2623e+12 | -0.00035052 | 1.4508 | 0.0081424 | 1.4737 | 3.1714e+12 | 3.5958e+12 | 2.1976e+12 | 1.4438 | 1.6365 | 14.0206 | 38.7472 | 14.89 | 540.4625 | 207.6913 | 15.1329 | 6.6461 | 0.56083
Sample | 2 | 20 | SAV_12_T1_2 | 8374 | 2024-04-16 12:53 | 1.71e-10 | 5.8e-11 | 6.38e-12 | 26.8464 | 9.0983 |  | 13.9484 | 537.4432 | 288.3061 | -4502737525.2162 | 3.2616e+12 | 12352345167.862 | 3.3489e+12 | -3230470564.5438 | 2.2623e+12 | -0.0003493 | 1.4508 | 0.0081408 | 1.4737 | 3.1715e+12 | 3.5959e+12 | 2.1977e+12 | 1.4438 | 1.6365 | 14.0214 | 38.7599 | 14.8893 | 540.6397 | 207.682 | 15.1379 | 6.6458 | 0.56085
Sample | 2 | 20 | SAV_12_T1_3 | 8380 | 2024-04-16 12:53 | 1.71e-10 | 5.8e-11 | 6.38e-12 | 26.8423 | 9.0923 |  | 13.9484 | 537.4432 | 288.3061 | -4499197588.4984 | 3.2618e+12 | 12353531494.6335 | 3.3491e+12 | -3225887304.428 | 2.2624e+12 | -0.00034747 | 1.4507 | 0.0081383 | 1.4737 | 3.1718e+12 | 3.5961e+12 | 2.1979e+12 | 1.4437 | 1.6365 | 14.0225 | 38.7534 | 14.8792 | 540.5488 | 207.5411 | 15.1354 | 6.6413 | 0.5609
Standard | 3 | 20 | Calibrate | 8572 | 2024-04-16 12:58 | 1.69e-10 | 8e-11 | 6.33e-12 | 26.7085 | 12.6331 |  | 13.9484 | 537.4432 | 288.3061 | -4382773003.1101 | 3.2678e+12 | 12392548464.0089 | 3.356e+12 | -3075148971.7287 | 2.265e+12 | -0.00028738 | 1.4487 | 0.0080565 | 1.4745 | 3.1801e+12 | 3.6038e+12 | 2.2035e+12 | 1.443 | 1.6356 | 13.9484 | 38.5398 | 20.6632 | 537.5691 | 288.2182 | 15.0519 | 9.223 | 0.55794
Standard | 3 | 20 | Calibrate | 8580 | 2024-04-16 12:58 | 1.69e-10 | 8e-11 | 6.33e-12 | 26.6976 | 12.6373 |  | 13.9484 | 537.4432 | 288.3061 | -4377659761.1843 | 3.2681e+12 | 12394262047.1233 | 3.3563e+12 | -3068528707.1168 | 2.2652e+12 | -0.00028474 | 1.4486 | 0.0080529 | 1.4745 | 3.1805e+12 | 3.6042e+12 | 2.2038e+12 | 1.4429 | 1.6356 | 13.95 | 38.5232 | 20.6696 | 537.337 | 288.3083 | 15.0454 | 9.2259 | 0.558
Standard | 3 | 20 | Calibrate | 8583 | 2024-04-16 12:58 | 1.69e-10 | 8e-11 | 6.33e-12 | 26.7007 | 12.6404 |  | 13.9484 | 537.4432 | 288.3061 | -4376086455.9763 | 3.2681e+12 | 12394789303.4662 | 3.3564e+12 | -3066491702.6209 | 2.2652e+12 | -0.00028393 | 1.4486 | 0.0080518 | 1.4746 | 3.1806e+12 | 3.6043e+12 | 2.2039e+12 | 1.4429 | 1.6356 | 13.9505 | 38.5273 | 20.6746 | 537.3947 | 288.3772 | 15.0471 | 9.2281 | 0.55802
Standard | 3 | 30 | Calibrate | 8721 | 2024-04-16 13:02 | 1.46e-10 | 6.85e-11 | 5.36e-12 | 27.3045 | 12.7706 |  | 11.6462 | 457.9012 | 255.2268 | -4292307953.653 | 3.2725e+12 | 12422865703.7262 | 3.3613e+12 | -2958021213.2123 | 2.2671e+12 | -0.00024068 | 1.4472 | 0.007993 | 1.4751 | 3.1437e+12 | 3.734e+12 | 2.1784e+12 | 1.44 | 1.7149 | 11.676 | 39.3179 | 21.9007 | 457.9016 | 255.059 | 12.8212 | 8.1619 | 0.46704
Standard | 3 | 30 | Calibrate | 8724 | 2024-04-16 13:02 | 1.46e-10 | 6.85e-11 | 5.36e-12 | 27.2975 | 12.7666 |  | 11.6462 | 457.9012 | 255.2268 | -4290341322.1431 | 3.2726e+12 | 12423524774.1548 | 3.3615e+12 | -2955474957.5924 | 2.2671e+12 | -0.00023967 | 1.4472 | 0.0079916 | 1.4752 | 3.1439e+12 | 3.7342e+12 | 2.1785e+12 | 1.44 | 1.7149 | 11.6767 | 39.3077 | 21.8935 | 457.783 | 254.975 | 12.8179 | 8.1592 | 0.46707
Standard | 3 | 30 | Calibrate | 8739 | 2024-04-16 13:02 | 1.46e-10 | 6.84e-11 | 5.36e-12 | 27.3041 | 12.7713 |  | 11.6462 | 457.9012 | 255.2268 | -4281294817.1974 | 3.273e+12 | 12426556498.1266 | 3.362e+12 | -2943762181.7407 | 2.2674e+12 | -0.000235 | 1.447 | 0.0079853 | 1.4752 | 3.1446e+12 | 3.7348e+12 | 2179039277237 | 1.44 | 1.7148 | 11.6797 | 39.3168 | 21.8998 | 457.8894 | 255.0488 | 12.8209 | 8.1616 | 0.46719

## Solubility concentrations
O2.conc_uMol.kg | N2.conc_uMol.kg | Ar.conc_uMol.kg
288.3061 | 537.4432 | 13.9484
255.2268 | 457.9012 | 11.6462

## Calibration factors
calfactor_28 | calfactor_32 | calfactor_40 | calfactor_N2Ar | calfactor_O2Ar
3.1126e+12 | 3.5447e+12 | 2.1525e+12 | 1.4471 | 1.6467
3.0325e+12 | 3.6409e+12 | 2.1136e+12 | 1.4376 | 1.7234
3.1429e+12 | 3.5696e+12 | 2.1783e+12 | 1.4464 | 1.6393
3.0939e+12 | 3.6918e+12 | 2.1408e+12 | 1.4408 | 1.7235
3.1801e+12 | 3.6038e+12 | 2.2035e+12 | 1.443 | 1.6356
3.1363e+12 | 3.7278e+12 | 2.1728e+12 | 1.4401 | 1.7162

## Drift corrected factors
calslope_28 | calintercept_28 | calslope_32 | calintercept_32 | calslope_40 | calintercept_40 | calslope_N2Ar | calintercept_N2Ar | calslope_O2Ar | calintercept_O2Ar | DRIFT.calslope_28 | DRIFT.calintercept_28 | DRIFT.calslope_32 | DRIFT.calintercept_32 | DRIFT.calslope_40 | DRIFT.calintercept_40 | DRIFT.calslope_N2Ar | DRIFT.calintercept_N2Ar | DRIFT.calslope_O2Ar | DRIFT.calintercept_O2Ar
-8014717020.6482 | 3.2729e+12 | 9614780689.0221 | 3.3525e+12 | -3889394468.3891 | 2.2303e+12 | -0.00094897 | 1.4661 | 0.0076738 | 1.4932 | 211625388213.01 | -2.1702e+12 | 177008175961.297 | -1.8495e+12 | 9689801746.9935 | 1.5581e+12 | 0.026771 | -0.58377 | 0.050777 | -1.5158
-4901570395.4314 | 3.241e+12 | 12218685684.9342 | 3.3252e+12 | -3746851204.2638 | 2.2532e+12 | -0.00055516 | 1.4575 | 0.0084208 | 1.4709 | 33983392491.7039 | 1.7567e+12 | 11388737006.8579 | 2.013e+12 | 43999297112.2317 | 773061593061.946 | 0.017541 | -0.57495 | -0.023861 | 0.23564
-4382773003.1101 | 3.2678e+12 | 12392548464.0089 | 3.356e+12 | -3075148971.7287 | 2.265e+12 | -0.00028738 | 1.4487 | 0.0080565 | 1.4745 | 33983392491.7039 | 1.7567e+12 | 11388737006.8579 | 2.013e+12 | 43999297112.2317 | 773061593061.946 | 0.017541 | -0.57495 | -0.023861 | 0.23564