## Results summary
CollectionTemp | Label | Notes | arSat.conc_uMol.kg | n2Sat.conc_uMol.kg | o2Sat.conc_uMol.kg | Ar_uMolL | N2Ar | O2Ar | N2_uMolL | O2_uMolL | N2_mgL | O2_mgL | Ar_mgL
20 | Hardwoods_IN_T1_1 |  | 13.9484 | 537.4432 | 288.3061 | 14.0711 | 38.7293 | 15.4694 | 540.2121 | 215.7733 | 15.1259 | 6.9047 | 0.56284
20 | Hardwoods_IN_T1_2 |  | 13.9484 | 537.4432 | 288.3061 | 14.0721 | 38.7227 | 15.4644 | 540.1207 | 215.7042 | 15.1234 | 6.9025 | 0.56288
20 | Hardwoods_IN_T1_3 |  | 13.9484 | 537.4432 | 288.3061 | 14.0727 | 38.7138 | 15.4593 | 539.9963 | 215.6327 | 15.1199 | 6.9002 | 0.56291
20 | Hardwoods_13_T1_1 |  | 13.9484 | 537.4432 | 288.3061 | 13.9463 | 38.6995 | 12.8831 | 539.7972 | 179.6993 | 15.1143 | 5.7504 | 0.55785
20 | Hardwoods_13_T1_2 |  | 13.9484 | 537.4432 | 288.3061 | 13.9473 | 38.6988 | 12.877 | 539.7862 | 179.6133 | 15.114 | 5.7476 | 0.55789
20 | Hardwoods_13_T1_3 |  | 13.9484 | 537.4432 | 288.3061 | 13.9486 | 38.7024 | 12.8741 | 539.8375 | 179.5733 | 15.1154 | 5.7463 | 0.55794
20 | Hardwoods_14_T1_1 |  | 13.9484 | 537.4432 | 288.3061 | 13.9338 | 38.7 | 15.1221 | 539.8029 | 210.9289 | 15.1145 | 6.7497 | 0.55735
20 | Hardwoods_14_T1_2 |  | 13.9484 | 537.4432 | 288.3061 | 13.9356 | 38.687 | 15.1203 | 539.6219 | 210.9042 | 15.1094 | 6.7489 | 0.55742
20 | Hardwoods_14_T1_3 |  | 13.9484 | 537.4432 | 288.3061 | 13.9363 | 38.6853 | 15.1207 | 539.5983 | 210.9095 | 15.1088 | 6.7491 | 0.55745

## Full results
Type | Group | CollectionTemp | Label | Index | Time | X28 | X32 | X40 | N2.Ar | O2.Ar | Notes | arSat.conc_uMol.kg | n2Sat.conc_uMol.kg | o2Sat.conc_uMol.kg | INTERPOLATED.calslope_28 | INTERPOLATED.calintercept_28 | INTERPOLATED.calslope_32 | INTERPOLATED.calintercept_32 | INTERPOLATED.calslope_40 | INTERPOLATED.calintercept_40 | INTERPOLATED.calslope_N2Ar | INTERPOLATED.calintercept_N2Ar | INTERPOLATED.calslope_O2Ar | INTERPOLATED.calintercept_O2Ar | INTERPOLATED.calfactor_28 | INTERPOLATED.calfactor_32 | INTERPOLATED.calfactor_40 | INTERPOLATED.calfactor_N2Ar | INTERPOLATED.calfactor_O2Ar | Ar_uMolL | N2Ar | O2Ar | N2_uMolL | O2_uMolL | N2_mgL | O2_mgL | Ar_mgL
Standard | 1 | 20 | Calibrate | 8572 | 2024-04-16 12:58 | 1.69e-10 | 8e-11 | 6.33e-12 | 26.7085 | 12.6331 |  | 13.9484 | 537.4432 | 288.3061 | -4382773003.1101 | 3.2678e+12 | 12392548464.0089 | 3.356e+12 | -3075148971.7287 | 2.265e+12 | -0.00028738 | 1.4487 | 0.0080565 | 1.4745 | 3.1801e+12 | 3.6038e+12 | 2.2035e+12 | 1.443 | 1.6356 | 13.9484 | 38.5398 | 20.6632 | 537.5691 | 288.2182 | 15.0519 | 9.223 | 0.55794
Standard | 1 | 20 | Calibrate | 8580 | 2024-04-16 12:58 | 1.69e-10 | 8e-11 | 6.33e-12 | 26.6976 | 12.6373 |  | 13.9484 | 537.4432 | 288.3061 | -4396494929.8759 | 3.2684e+12 | 12393611913.6927 | 3.3564e+12 | -3077004188.6768 | 2.2653e+12 | -0.00028898 | 1.4488 | 0.008057 | 1.4745 | 3.1805e+12 | 3.6042e+12 | 2.2038e+12 | 1.443 | 1.6357 | 13.9499 | 38.5241 | 20.6702 | 537.3504 | 288.3163 | 15.0458 | 9.2261 | 0.558
Standard | 1 | 20 | Calibrate | 8583 | 2024-04-16 12:58 | 1.69e-10 | 8e-11 | 6.33e-12 | 26.7007 | 12.6404 |  | 13.9484 | 537.4432 | 288.3061 | -4400717061.1885 | 3.2686e+12 | 12393939128.98 | 3.3565e+12 | -3077575024.6608 | 2.2654e+12 | -0.00028947 | 1.4488 | 0.0080571 | 1.4745 | 3.1806e+12 | 3.6044e+12 | 2.2038e+12 | 1.443 | 1.6357 | 13.9504 | 38.5286 | 20.6753 | 537.4123 | 288.3877 | 15.0475 | 9.2284 | 0.55801
Standard | 1 | 30 | Calibrate | 8721 | 2024-04-16 13:02 | 1.46e-10 | 6.85e-11 | 5.36e-12 | 27.3045 | 12.7706 |  | 11.6462 | 457.9012 | 255.2268 | -4625545553.582 | 3.2783e+12 | 12411363343.0299 | 3.363e+12 | -3107972040.811 | 2.2699e+12 | -0.00031574 | 1.4493 | 0.0080647 | 1.4745 | 3.1395e+12 | 3.7354e+12 | 2.1766e+12 | 1.4399 | 1.7164 | 11.6667 | 39.3148 | 21.9201 | 457.8663 | 255.2851 | 12.8203 | 8.1691 | 0.46667
Standard | 1 | 30 | Calibrate | 8724 | 2024-04-16 13:02 | 1.46e-10 | 6.85e-11 | 5.36e-12 | 27.2975 | 12.7666 |  | 11.6462 | 457.9012 | 255.2268 | -4630823217.7227 | 3.2785e+12 | 12411772362.1391 | 3.3632e+12 | -3108685585.791 | 2.27e+12 | -0.00031635 | 1.4493 | 0.0080649 | 1.4745 | 3.1396e+12 | 3.7355e+12 | 2.1767e+12 | 1.4399 | 1.7165 | 11.6671 | 39.3046 | 21.9133 | 457.7469 | 255.2059 | 12.8169 | 8.1666 | 0.46669
Standard | 1 | 30 | Calibrate | 8739 | 2024-04-16 13:02 | 1.46e-10 | 6.84e-11 | 5.36e-12 | 27.3041 | 12.7713 |  | 11.6462 | 457.9012 | 255.2268 | -4655100472.7699 | 3.2795e+12 | 12413653850.0412 | 3.3639e+12 | -3111967892.6992 | 2.2704e+12 | -0.00031919 | 1.4494 | 0.0080657 | 1.4745 | 3.1399e+12 | 3.7363e+12 | 2.1771e+12 | 1.4398 | 1.7165 | 11.6692 | 39.3134 | 21.9216 | 457.8498 | 255.3024 | 12.8198 | 8.1697 | 0.46677
Sample | 1 | 20 | Hardwoods_IN_T1_1 | 9015 | 2024-04-16 13:09 | 1.7e-10 | 6e-11 | 6.35e-12 | 26.8375 | 9.4549 |  | 13.9484 | 537.4432 | 288.3061 | -5104757457.5571 | 3.2989e+12 | 12448502278.1412 | 3.3769e+12 | -3172761924.9995 | 2.2794e+12 | -0.00037171 | 1.4505 | 0.008081 | 1.4745 | 3.1968e+12 | 3.6259e+12 | 2.2159e+12 | 1.4431 | 1.6361 | 14.0711 | 38.7293 | 15.4694 | 540.2121 | 215.7733 | 15.1259 | 6.9047 | 0.56284
Sample | 1 | 20 | Hardwoods_IN_T1_2 | 9021 | 2024-04-16 13:10 | 1.7e-10 | 6e-11 | 6.35e-12 | 26.8329 | 9.4519 |  | 13.9484 | 537.4432 | 288.3061 | -5114257253.0103 | 3.2994e+12 | 12449238512.5376 | 3.3772e+12 | -3174046305.9636 | 2.2796e+12 | -0.00037282 | 1.4506 | 0.0080813 | 1.4745 | 3.1971e+12 | 3.6262e+12 | 2.2161e+12 | 1.4431 | 1.6361 | 14.0721 | 38.7227 | 15.4644 | 540.1207 | 215.7042 | 15.1234 | 6.9025 | 0.56288
Sample | 1 | 20 | Hardwoods_IN_T1_3 | 9024 | 2024-04-16 13:10 | 1.7e-10 | 6e-11 | 6.35e-12 | 26.8267 | 9.4487 |  | 13.9484 | 537.4432 | 288.3061 | -5119534917.151 | 3.2996e+12 | 12449647531.6468 | 3.3773e+12 | -3174759850.9437 | 2.2797e+12 | -0.00037344 | 1.4506 | 0.0080815 | 1.4745 | 3.1972e+12 | 3.6263e+12 | 2.2162e+12 | 1.4431 | 1.6361 | 14.0727 | 38.7138 | 15.4593 | 539.9963 | 215.6327 | 15.1199 | 6.9002 | 0.56291
Sample | 1 | 20 | Hardwoods_13_T1_1 | 9188 | 2024-04-16 13:14 | 1.68e-10 | 4.94e-11 | 6.28e-12 | 26.8159 | 7.8733 |  | 13.9484 | 537.4432 | 288.3061 | -5386584722.6701 | 3.3111e+12 | 12470343898.57 | 3.3851e+12 | -3210865226.9342 | 2.285e+12 | -0.00040463 | 1.4512 | 0.0080905 | 1.4745 | 3.2034e+12 | 3.6345e+12 | 2.2207e+12 | 1.4432 | 1.6363 | 13.9463 | 38.6995 | 12.8831 | 539.7972 | 179.6993 | 15.1143 | 5.7504 | 0.55785
Sample | 1 | 20 | Hardwoods_13_T1_2 | 9194 | 2024-04-16 13:14 | 1.68e-10 | 4.94e-11 | 6.28e-12 | 26.8154 | 7.8695 |  | 13.9484 | 537.4432 | 288.3061 | -5396084518.1234 | 3.3115e+12 | 12471080132.9665 | 3.3853e+12 | -3212149607.8983 | 2.2852e+12 | -0.00040574 | 1.4513 | 0.0080908 | 1.4745 | 3.2036e+12 | 3.6348e+12 | 2.2209e+12 | 1.4432 | 1.6363 | 13.9473 | 38.6988 | 12.877 | 539.7862 | 179.6133 | 15.114 | 5.7476 | 0.55789
Sample | 1 | 20 | Hardwoods_13_T1_3 | 9201 | 2024-04-16 13:14 | 1.68e-10 | 4.94e-11 | 6.28e-12 | 26.8179 | 7.8677 |  | 13.9484 | 537.4432 | 288.3061 | -5407695379.2329 | 3.312e+12 | 12471979975.0066 | 3.3857e+12 | -3213719406.8544 | 2.2854e+12 | -0.0004071 | 1.4513 | 0.0080912 | 1.4745 | 3.2039e+12 | 3.6351e+12 | 2.2211e+12 | 1.4432 | 1.6363 | 13.9486 | 38.7024 | 12.8741 | 539.8375 | 179.5733 | 15.1154 | 5.7463 | 0.55794
Sample | 1 | 20 | Hardwoods_14_T1_1 | 9371 | 2024-04-16 13:19 | 1.68e-10 | 5.78e-11 | 6.26e-12 | 26.8152 | 9.2405 |  | 13.9484 | 537.4432 | 288.3061 | -5684244980.2053 | 3.3239e+12 | 12493412576.3263 | 3.3937e+12 | -3251109163.809 | 2.2909e+12 | -0.0004394 | 1.452 | 0.0081006 | 1.4745 | 3.2103e+12 | 3.6436e+12 | 2.2258e+12 | 1.4432 | 1.6365 | 13.9338 | 38.7 | 15.1221 | 539.8029 | 210.9289 | 15.1145 | 6.7497 | 0.55735
Sample | 1 | 20 | Hardwoods_14_T1_2 | 9381 | 2024-04-16 13:19 | 1.68e-10 | 5.79e-11 | 6.26e-12 | 26.8062 | 9.2394 |  | 13.9484 | 537.4432 | 288.3061 | -5701133505.4555 | 3.3247e+12 | 12494721437.4756 | 3.3942e+12 | -3253392507.7452 | 2.2912e+12 | -0.00044137 | 1.452 | 0.0081011 | 1.4745 | 3.2106e+12 | 3.6441e+12 | 2.2261e+12 | 1.4432 | 1.6365 | 13.9356 | 38.687 | 15.1203 | 539.6219 | 210.9042 | 15.1094 | 6.7489 | 0.55742
Sample | 1 | 20 | Hardwoods_14_T1_3 | 9385 | 2024-04-16 13:19 | 1.68e-10 | 5.79e-11 | 6.26e-12 | 26.805 | 9.2396 |  | 13.9484 | 537.4432 | 288.3061 | -5707466702.4243 | 3.3249e+12 | 12495212260.4066 | 3.3944e+12 | -3254248761.7213 | 2.2913e+12 | -0.00044211 | 1.4521 | 0.0081013 | 1.4745 | 3.2108e+12 | 3.6443e+12 | 2.2262e+12 | 1.4432 | 1.6365 | 13.9363 | 38.6853 | 15.1207 | 539.5983 | 210.9095 | 15.1088 | 6.7491 | 0.55745
Standard | 2 | 20 | Calibrate | 9582 | 2024-04-16 13:24 | 1.67e-10 | 7.89e-11 | 6.25e-12 | 26.6922 | 12.6222 |  | 13.9484 | 537.4432 | 288.3061 | -6028348682.1785 | 3.3388e+12 | 12520080622.2432 | 3.4037e+12 | -3297632296.5083 | 2.2977e+12 | -0.00047959 | 1.4529 | 0.0081122 | 1.4745 | 3.2182e+12 | 3.6541e+12 | 2.2317e+12 | 1.4433 | 1.6367 | 13.9484 | 38.524 | 20.659 | 537.3492 | 288.1604 | 15.0458 | 9.2211 | 0.55794
Standard | 2 | 20 | Calibrate | 9589 | 2024-04-16 13:24 | 1.67e-10 | 7.89e-11 | 6.25e-12 | 26.6982 | 12.6301 |  | 13.9484 | 537.4432 | 288.3061 | -6039959543.2881 | 3.3393e+12 | 12520980464.2833 | 3.404e+12 | -3299202095.4644 | 2.2979e+12 | -0.00048095 | 1.4529 | 0.0081126 | 1.4745 | 3.2185e+12 | 3.6544e+12 | 2.2319e+12 | 1.4433 | 1.6367 | 13.9497 | 38.5327 | 20.6721 | 537.4706 | 288.3433 | 15.0492 | 9.227 | 0.55799
Standard | 2 | 20 | Calibrate | 9592 | 2024-04-16 13:24 | 1.67e-10 | 7.89e-11 | 6.25e-12 | 26.7003 | 12.6334 |  | 13.9484 | 537.4432 | 288.3061 | -6044181674.6006 | 3.3395e+12 | 12521307679.5706 | 3.4041e+12 | -3299772931.4485 | 2.298e+12 | -0.00048144 | 1.4529 | 0.0081127 | 1.4745 | 3.2186e+12 | 3.6546e+12 | 2.232e+12 | 1.4433 | 1.6367 | 13.9501 | 38.5357 | 20.6775 | 537.5117 | 288.4179 | 15.0503 | 9.2294 | 0.558
Standard | 2 | 30 | Calibrate | 9726 | 2024-04-16 13:28 | 1.45e-10 | 6.76e-11 | 5.3e-12 | 27.3408 | 12.7584 |  | 11.6462 | 457.9012 | 255.2268 | -6262676970.0254 | 3.3489e+12 | 12538241070.6896 | 3.4105e+12 | -3329313693.6226 | 2.3023e+12 | -0.00050696 | 1.4534 | 0.0081201 | 1.4745 | 3.161e+12 | 3.7866e+12 | 2.2025e+12 | 1.4382 | 1.7181 | 11.6731 | 39.3227 | 21.9199 | 457.9577 | 255.282 | 12.8228 | 8.169 | 0.46692
Standard | 2 | 30 | Calibrate | 9741 | 2024-04-16 13:28 | 1.45e-10 | 6.75e-11 | 5.3e-12 | 27.3289 | 12.7564 |  | 11.6462 | 457.9012 | 255.2268 | -6286954225.0726 | 3.3499e+12 | 12540122558.5917 | 3.4112e+12 | -3332596000.5308 | 2.3028e+12 | -0.0005098 | 1.4535 | 0.0081209 | 1.4745 | 3.1613e+12 | 3.7874e+12 | 2.2029e+12 | 1.4382 | 1.7181 | 11.6751 | 39.3049 | 21.9168 | 457.7507 | 255.2458 | 12.817 | 8.1679 | 0.467
Standard | 2 | 30 | Calibrate | 9747 | 2024-04-16 13:28 | 1.45e-10 | 6.75e-11 | 5.29e-12 | 27.3294 | 12.7573 |  | 11.6462 | 457.9012 | 255.2268 | -6297509553.3539 | 3.3504e+12 | 12540940596.81 | 3.4115e+12 | -3334023090.4909 | 2.303e+12 | -0.00051103 | 1.4535 | 0.0081213 | 1.4745 | 3.1615e+12 | 3.7877e+12 | 2.203e+12 | 1.4382 | 1.7181 | 11.654 | 39.3052 | 21.9184 | 457.7547 | 255.2654 | 12.8171 | 8.1685 | 0.46616

## Solubility concentrations
O2.conc_uMol.kg | N2.conc_uMol.kg | Ar.conc_uMol.kg
288.3061 | 537.4432 | 13.9484
255.2268 | 457.9012 | 11.6462

## Calibration factors
calfactor_28 | calfactor_32 | calfactor_40 | calfactor_N2Ar | calfactor_O2Ar
3.1801e+12 | 3.6038e+12 | 2.2035e+12 | 1.443 | 1.6356
3.1363e+12 | 3.7278e+12 | 2.1728e+12 | 1.4401 | 1.7162
3.2182e+12 | 3.6541e+12 | 2.2317e+12 | 1.4433 | 1.6367
3.1579e+12 | 3.7793e+12 | 2.1988e+12 | 1.4385 | 1.7178

## Drift corrected factors
calslope_28 | calintercept_28 | calslope_32 | calintercept_32 | calslope_40 | calintercept_40 | calslope_N2Ar | calintercept_N2Ar | calslope_O2Ar | calintercept_O2Ar | DRIFT.calslope_28 | DRIFT.calintercept_28 | DRIFT.calslope_32 | DRIFT.calintercept_32 | DRIFT.calslope_40 | DRIFT.calintercept_40 | DRIFT.calslope_N2Ar | DRIFT.calintercept_N2Ar | DRIFT.calslope_O2Ar | DRIFT.calintercept_O2Ar
-4382773003.1101 | 3.2678e+12 | 12392548464.0089 | 3.356e+12 | -3075148971.7287 | 2.265e+12 | -0.00028738 | 1.4487 | 0.0080565 | 1.4745 | -91198036351.1951 | 3.9347e+12 | 7067850206.1863 | 2.6431e+12 | -12330057255.2687 | 1.8097e+12 | -0.010652 | 0.2291 | 0.0030851 | -0.00167
-6028348682.1785 | 3.3388e+12 | 12520080622.2432 | 3.4037e+12 | -3297632296.5083 | 2.2977e+12 | -0.00047959 | 1.4529 | 0.0081122 | 1.4745 | -91198036351.1951 | 3.9347e+12 | 7067850206.1863 | 2.6431e+12 | -12330057255.2687 | 1.8097e+12 | -0.010652 | 0.2291 | 0.0030851 | -0.00167